## SM Parser
Employee | A. Baumann
Test Date | 2020-11-17
QCBatchID
SampleNumber | DOC
RMV

## Raw Data
Date | Time | Vial# | Spl# | #Reps | Sample ID | Type | Mode | Area(cts) | Mass(ugC) | Conc (PPM as mg/L C) | Method | InstrumentID | UserID | Comments
2020-11-17 | 13:06 | - | 1 | 1 | Clean Up | CleanUp | TC | 3422.162 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc | --
2020-11-17 | 13:06 | - | 1 | Avg | Clean Up | CleanUp | TC | 3422.162 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc | --
2020-11-17 | 13:06 | - | 1 | StDev | Clean Up | CleanUp | TC | 0 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc | --
2020-11-17 | 13:06 | - | 1 | %RSD | Clean Up | CleanUp | TC | 0 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc | --
2020-11-17 | 13:30 | 1 | 2 | 1 | DI Blank | Sample | TOC | 2966.639 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-11-17 | 13:30 | 1 | 2 | Avg | DI Blank | Sample | TOC | 2966.639 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-11-17 | 13:30 | 1 | 2 | StDev | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-11-17 | 13:30 | 1 | 2 | %RSD | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-11-17 | 13:49 | 2 | 3 | 1 | TOC CAL BLANK | Sample | TOC | 3299.806 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-11-17 | 13:49 | 2 | 3 | Avg | TOC CAL BLANK | Sample | TOC | 3299.806 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-11-17 | 13:49 | 2 | 3 | StDev | TOC CAL BLANK | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-11-17 | 13:49 | 2 | 3 | %RSD | TOC CAL BLANK | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-11-17 | 14:09 | 3 | 4 | 1 | TOC CAL#1 | Sample | TOC | 5586.026 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-11-17 | 14:09 | 3 | 4 | Avg | TOC CAL#1 | Sample | TOC | 5586.026 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-11-17 | 14:09 | 3 | 4 | StDev | TOC CAL#1 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-11-17 | 14:09 | 3 | 4 | %RSD | TOC CAL#1 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-11-17 | 14:30 | 4 | 5 | 1 | TOC CAL#2 | Sample | TOC | 15537.469 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-11-17 | 14:30 | 4 | 5 | Avg | TOC CAL#2 | Sample | TOC | 15537.469 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-11-17 | 14:30 | 4 | 5 | StDev | TOC CAL#2 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-11-17 | 14:30 | 4 | 5 | %RSD | TOC CAL#2 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-11-17 | 14:53 | 5 | 6 | 1 | TOC CAL#3 | Sample | TOC | 28071.857 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-11-17 | 14:53 | 5 | 6 | Avg | TOC CAL#3 | Sample | TOC | 28071.857 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-11-17 | 14:53 | 5 | 6 | StDev | TOC CAL#3 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-11-17 | 14:53 | 5 | 6 | %RSD | TOC CAL#3 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-11-17 | 15:17 | 6 | 7 | 1 | TOC CAL#4 | Sample | TOC | 121435.482 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-11-17 | 15:17 | 6 | 7 | Avg | TOC CAL#4 | Sample | TOC | 121435.482 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-11-17 | 15:17 | 6 | 7 | StDev | TOC CAL#4 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-11-17 | 15:17 | 6 | 7 | %RSD | TOC CAL#4 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-11-17 | 15:44 | 7 | 8 | 1 | TOC CAL#5 | Sample | TOC | 221252.85 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-11-17 | 15:44 | 7 | 8 | Avg | TOC CAL#5 | Sample | TOC | 221252.85 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-11-17 | 15:44 | 7 | 8 | StDev | TOC CAL#5 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-11-17 | 15:44 | 7 | 8 | %RSD | TOC CAL#5 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-11-17 | 16:12 | 8 | 9 | 1 | DI Blank | Sample | TOC | 2545.422 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-11-17 | 16:12 | 8 | 9 | Avg | DI Blank | Sample | TOC | 2545.422 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-11-17 | 16:12 | 8 | 9 | StDev | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-11-17 | 16:12 | 8 | 9 | %RSD | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-11-17 | 16:31 | 9 | 10 | 1 | MDL | Sample | TOC | 10851.795 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-11-17 | 16:31 | 9 | 10 | Avg | MDL | Sample | TOC | 10851.795 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-11-17 | 16:31 | 9 | 10 | StDev | MDL | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-11-17 | 16:31 | 9 | 10 | %RSD | MDL | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-11-17 | 16:53 | 10 | 11 | 1 | RMV | Sample | TOC | 38786.066 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-11-17 | 16:53 | 10 | 11 | Avg | RMV | Sample | TOC | 38786.066 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-11-17 | 16:53 | 10 | 11 | StDev | RMV | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-11-17 | 16:53 | 10 | 11 | %RSD | RMV | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-11-17 | 17:18 | 11 | 12 | 1 | LCS-01 | Sample | TOC | 39449.662 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-11-17 | 17:18 | 11 | 12 | Avg | LCS-01 | Sample | TOC | 39449.662 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-11-17 | 17:18 | 11 | 12 | StDev | LCS-01 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-11-17 | 17:18 | 11 | 12 | %RSD | LCS-01 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-11-17 | 17:43 | 12 | 13 | 1 | LCS-02 | Sample | TOC | 168709.941 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-11-17 | 17:43 | 12 | 13 | Avg | LCS-02 | Sample | TOC | 168709.941 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-11-17 | 17:43 | 12 | 13 | StDev | LCS-02 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-11-17 | 17:43 | 12 | 13 | %RSD | LCS-02 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-11-17 | 18:10 | 13 | 14 | 1 | DI Blank | Sample | TOC | 2612.113 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-11-17 | 18:10 | 13 | 14 | Avg | DI Blank | Sample | TOC | 2612.113 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-11-17 | 18:10 | 13 | 14 | StDev | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-11-17 | 18:10 | 13 | 14 | %RSD | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-11-17 | 18:28 | 14 | 15 | 1 | A053 | Sample | TOC | 172233.381 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 18:28 | 14 | 15 | Avg | A053 | Sample | TOC | 172233.381 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 18:28 | 14 | 15 | StDev | A053 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 18:28 | 14 | 15 | %RSD | A053 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 18:56 | 15 | 16 | 1 | A028 | Sample | TOC | 152639.326 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 18:56 | 15 | 16 | Avg | A028 | Sample | TOC | 152639.326 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 18:56 | 15 | 16 | StDev | A028 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 18:56 | 15 | 16 | %RSD | A028 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 19:24 | 16 | 17 | 1 | A066 | Sample | TOC | 126015.477 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 19:24 | 16 | 17 | Avg | A066 | Sample | TOC | 126015.477 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 19:24 | 16 | 17 | StDev | A066 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 19:24 | 16 | 17 | %RSD | A066 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 19:51 | 17 | 18 | 1 | A133 | Sample | TOC | 99020.026 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 19:51 | 17 | 18 | Avg | A133 | Sample | TOC | 99020.026 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 19:51 | 17 | 18 | StDev | A133 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 19:51 | 17 | 18 | %RSD | A133 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 20:17 | 18 | 19 | 1 | A134 | Sample | TOC | 179899.183 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 20:17 | 18 | 19 | Avg | A134 | Sample | TOC | 179899.183 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 20:17 | 18 | 19 | StDev | A134 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 20:17 | 18 | 19 | %RSD | A134 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 20:45 | 19 | 20 | 1 | A087 | Sample | TOC | 124199.71 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 20:45 | 19 | 20 | Avg | A087 | Sample | TOC | 124199.71 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 20:45 | 19 | 20 | StDev | A087 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 20:45 | 19 | 20 | %RSD | A087 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 21:12 | 20 | 21 | 1 | 5mg/L Cane Sugar | Sample | TOC | 122064.741 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 21:12 | 20 | 21 | Avg | 5mg/L Cane Sugar | Sample | TOC | 122064.741 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 21:12 | 20 | 21 | StDev | 5mg/L Cane Sugar | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 21:12 | 20 | 21 | %RSD | 5mg/L Cane Sugar | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 21:39 | 21 | 22 | 1 | 5mg/L Cane Sugar | Sample | TOC | 122001.181 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 21:39 | 21 | 22 | Avg | 5mg/L Cane Sugar | Sample | TOC | 122001.181 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 21:39 | 21 | 22 | StDev | 5mg/L Cane Sugar | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 21:39 | 21 | 22 | %RSD | 5mg/L Cane Sugar | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 22:06 | 22 | 23 | 1 | 5mg/L Cane Sugar | Sample | TOC | 121894.069 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 22:06 | 22 | 23 | Avg | 5mg/L Cane Sugar | Sample | TOC | 121894.069 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 22:06 | 22 | 23 | StDev | 5mg/L Cane Sugar | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 22:06 | 22 | 23 | %RSD | 5mg/L Cane Sugar | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 22:33 | 23 | 24 | 1 | LCS-01 | Sample | TOC | 39692.853 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-11-17 | 22:33 | 23 | 24 | Avg | LCS-01 | Sample | TOC | 39692.853 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-11-17 | 22:33 | 23 | 24 | StDev | LCS-01 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-11-17 | 22:33 | 23 | 24 | %RSD | LCS-01 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-11-17 | 22:58 | 24 | 25 | 1 | DI Blank | Sample | TOC | 2685.195 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-11-17 | 22:58 | 24 | 25 | Avg | DI Blank | Sample | TOC | 2685.195 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-11-17 | 22:58 | 24 | 25 | StDev | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-11-17 | 22:58 | 24 | 25 | %RSD | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-11-17 | 23:15 | 25 | 26 | 1 | A099 | Sample | TOC | 100231.57 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 23:15 | 25 | 26 | Avg | A099 | Sample | TOC | 100231.57 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 23:15 | 25 | 26 | StDev | A099 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 23:15 | 25 | 26 | %RSD | A099 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 23:41 | 26 | 27 | 1 | A111 | Sample | TOC | 126487.805 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 23:41 | 26 | 27 | Avg | A111 | Sample | TOC | 126487.805 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 23:41 | 26 | 27 | StDev | A111 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-17 | 23:41 | 26 | 27 | %RSD | A111 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-18 | 0:08 | 27 | 28 | 1 | A123 | Sample | TOC | 219513.22 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-18 | 0:08 | 27 | 28 | Avg | A123 | Sample | TOC | 219513.22 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-18 | 0:08 | 27 | 28 | StDev | A123 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-18 | 0:08 | 27 | 28 | %RSD | A123 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-18 | 0:37 | 28 | 29 | 1 | A135 | Sample | TOC | 188771.343 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-18 | 0:37 | 28 | 29 | Avg | A135 | Sample | TOC | 188771.343 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-18 | 0:37 | 28 | 29 | StDev | A135 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-18 | 0:37 | 28 | 29 | %RSD | A135 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-18 | 1:05 | 29 | 30 | 1 | A124 | Sample | TOC | 170061.807 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-18 | 1:04 | 29 | 30 | Avg | A124 | Sample | TOC | 170061.807 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-18 | 1:04 | 29 | 30 | StDev | A124 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-18 | 1:04 | 29 | 30 | %RSD | A124 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-18 | 1:32 | 30 | 31 | 1 | A136 | Sample | TOC | 143233.018 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-18 | 1:32 | 30 | 31 | Avg | A136 | Sample | TOC | 143233.018 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-18 | 1:32 | 30 | 31 | StDev | A136 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-18 | 1:32 | 30 | 31 | %RSD | A136 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-18 | 1:59 | 31 | 32 | 1 | 5mg/L Cane Sugar | Sample | TOC | 121995.384 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-18 | 1:59 | 31 | 32 | Avg | 5mg/L Cane Sugar | Sample | TOC | 121995.384 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-18 | 1:59 | 31 | 32 | StDev | 5mg/L Cane Sugar | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-18 | 1:59 | 31 | 32 | %RSD | 5mg/L Cane Sugar | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-18 | 2:26 | 32 | 33 | 1 | 5mg/L Cane Sugar | Sample | TOC | 121855.027 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-18 | 2:26 | 32 | 33 | Avg | 5mg/L Cane Sugar | Sample | TOC | 121855.027 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-18 | 2:26 | 32 | 33 | StDev | 5mg/L Cane Sugar | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-18 | 2:26 | 32 | 33 | %RSD | 5mg/L Cane Sugar | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-18 | 2:53 | 33 | 34 | 1 | 5mg/L Cane Sugar | Sample | TOC | 122046.655 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-18 | 2:53 | 33 | 34 | Avg | 5mg/L Cane Sugar | Sample | TOC | 122046.655 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-18 | 2:53 | 33 | 34 | StDev | 5mg/L Cane Sugar | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-18 | 2:53 | 33 | 34 | %RSD | 5mg/L Cane Sugar | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DOC
2020-11-18 | 3:20 | 34 | 35 | 1 | DI Blank | Sample | TOC | 2904.768 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-11-18 | 3:20 | 34 | 35 | Avg | DI Blank | Sample | TOC | 2904.768 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-11-18 | 3:20 | 34 | 35 | StDev | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-11-18 | 3:20 | 34 | 35 | %RSD | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-11-18 | 3:32 | - | 36 | 1 | Clean Up | CleanUp | TC | 2717.531 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc | --
2020-11-18 | 3:32 | - | 36 | Avg | Clean Up | CleanUp | TC | 2717.531 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc | --
2020-11-18 | 3:32 | - | 36 | StDev | Clean Up | CleanUp | TC | 0 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc | --
2020-11-18 | 3:32 | - | 36 | %RSD | Clean Up | CleanUp | TC | 0 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc | --

## Sorted Data
Vial# | Spl# | Sample ID | Area(cts) | Comments | #Reps | *Filter data by "Reps" for "Avg" only
- | 1 | Clean Up | 3422.162 | -- | 1 | *Sort data by unchecking "DOC" in "Comments" field
- | 1 | Clean Up | 3422.162 | -- | Avg
- | 1 | Clean Up | 0 | -- | StDev
- | 1 | Clean Up | 0 | -- | %RSD
1 | 2 | DI Blank | 2966.639 | -- | 1
1 | 2 | DI Blank | 2966.639 | -- | Avg
1 | 2 | DI Blank | 0 | -- | StDev
1 | 2 | DI Blank | 0 | -- | %RSD
2 | 3 | TOC CAL BLANK | 3299.806 | CAL | 1
2 | 3 | TOC CAL BLANK | 3299.806 | CAL | Avg
2 | 3 | TOC CAL BLANK | 0 | CAL | StDev
2 | 3 | TOC CAL BLANK | 0 | CAL | %RSD
3 | 4 | TOC CAL#1 | 5586.026 | CAL | 1
3 | 4 | TOC CAL#1 | 5586.026 | CAL | Avg
3 | 4 | TOC CAL#1 | 0 | CAL | StDev
3 | 4 | TOC CAL#1 | 0 | CAL | %RSD
4 | 5 | TOC CAL#2 | 15537.469 | CAL | 1
4 | 5 | TOC CAL#2 | 15537.469 | CAL | Avg
4 | 5 | TOC CAL#2 | 0 | CAL | StDev
4 | 5 | TOC CAL#2 | 0 | CAL | %RSD
5 | 6 | TOC CAL#3 | 28071.857 | CAL | 1
5 | 6 | TOC CAL#3 | 28071.857 | CAL | Avg
5 | 6 | TOC CAL#3 | 0 | CAL | StDev
5 | 6 | TOC CAL#3 | 0 | CAL | %RSD
6 | 7 | TOC CAL#4 | 121435.482 | CAL | 1
6 | 7 | TOC CAL#4 | 121435.482 | CAL | Avg
6 | 7 | TOC CAL#4 | 0 | CAL | StDev
6 | 7 | TOC CAL#4 | 0 | CAL | %RSD
7 | 8 | TOC CAL#5 | 221252.85 | CAL | 1
7 | 8 | TOC CAL#5 | 221252.85 | CAL | Avg
7 | 8 | TOC CAL#5 | 0 | CAL | StDev
7 | 8 | TOC CAL#5 | 0 | CAL | %RSD
8 | 9 | DI Blank | 2545.422 | -- | 1
8 | 9 | DI Blank | 2545.422 | -- | Avg
8 | 9 | DI Blank | 0 | -- | StDev
8 | 9 | DI Blank | 0 | -- | %RSD
9 | 10 | MDL | 10851.795 | QC | 1
9 | 10 | MDL | 10851.795 | QC | Avg
9 | 10 | MDL | 0 | QC | StDev
9 | 10 | MDL | 0 | QC | %RSD
10 | 11 | RMV | 38786.066 | QC | 1
10 | 11 | RMV | 38786.066 | QC | Avg
10 | 11 | RMV | 0 | QC | StDev
10 | 11 | RMV | 0 | QC | %RSD
11 | 12 | LCS-01 | 39449.662 | QC | 1
11 | 12 | LCS-01 | 39449.662 | QC | Avg
11 | 12 | LCS-01 | 0 | QC | StDev
11 | 12 | LCS-01 | 0 | QC | %RSD
12 | 13 | LCS-02 | 168709.941 | QC | 1
12 | 13 | LCS-02 | 168709.941 | QC | Avg
12 | 13 | LCS-02 | 0 | QC | StDev
12 | 13 | LCS-02 | 0 | QC | %RSD
13 | 14 | DI Blank | 2612.113 | -- | 1
13 | 14 | DI Blank | 2612.113 | -- | Avg
13 | 14 | DI Blank | 0 | -- | StDev
13 | 14 | DI Blank | 0 | -- | %RSD
14 | 15 | A053 | 172233.381 | DOC | 1
14 | 15 | A053 | 172233.381 | DOC | Avg
14 | 15 | A053 | 0 | DOC | StDev
14 | 15 | A053 | 0 | DOC | %RSD
15 | 16 | A028 | 152639.326 | DOC | 1
15 | 16 | A028 | 152639.326 | DOC | Avg
15 | 16 | A028 | 0 | DOC | StDev
15 | 16 | A028 | 0 | DOC | %RSD
16 | 17 | A066 | 126015.477 | DOC | 1
16 | 17 | A066 | 126015.477 | DOC | Avg
16 | 17 | A066 | 0 | DOC | StDev
16 | 17 | A066 | 0 | DOC | %RSD
17 | 18 | A133 | 99020.026 | DOC | 1
17 | 18 | A133 | 99020.026 | DOC | Avg
17 | 18 | A133 | 0 | DOC | StDev
17 | 18 | A133 | 0 | DOC | %RSD
18 | 19 | A134 | 179899.183 | DOC | 1
18 | 19 | A134 | 179899.183 | DOC | Avg
18 | 19 | A134 | 0 | DOC | StDev
18 | 19 | A134 | 0 | DOC | %RSD
19 | 20 | A087 | 124199.71 | DOC | 1
19 | 20 | A087 | 124199.71 | DOC | Avg
19 | 20 | A087 | 0 | DOC | StDev
19 | 20 | A087 | 0 | DOC | %RSD
20 | 21 | 5mg/L Cane Sugar | 122064.741 | DOC | 1
20 | 21 | 5mg/L Cane Sugar | 122064.741 | DOC | Avg
20 | 21 | 5mg/L Cane Sugar | 0 | DOC | StDev
20 | 21 | 5mg/L Cane Sugar | 0 | DOC | %RSD
21 | 22 | 5mg/L Cane Sugar | 122001.181 | DOC | 1
21 | 22 | 5mg/L Cane Sugar | 122001.181 | DOC | Avg
21 | 22 | 5mg/L Cane Sugar | 0 | DOC | StDev
21 | 22 | 5mg/L Cane Sugar | 0 | DOC | %RSD
22 | 23 | 5mg/L Cane Sugar | 121894.069 | DOC | 1
22 | 23 | 5mg/L Cane Sugar | 121894.069 | DOC | Avg
22 | 23 | 5mg/L Cane Sugar | 0 | DOC | StDev
22 | 23 | 5mg/L Cane Sugar | 0 | DOC | %RSD
23 | 24 | LCS-01 | 39692.853 | QC | 1
23 | 24 | LCS-01 | 39692.853 | QC | Avg
23 | 24 | LCS-01 | 0 | QC | StDev
23 | 24 | LCS-01 | 0 | QC | %RSD
24 | 25 | DI Blank | 2685.195 | -- | 1
24 | 25 | DI Blank | 2685.195 | -- | Avg
24 | 25 | DI Blank | 0 | -- | StDev
24 | 25 | DI Blank | 0 | -- | %RSD
25 | 26 | A099 | 100231.57 | DOC | 1
25 | 26 | A099 | 100231.57 | DOC | Avg
25 | 26 | A099 | 0 | DOC | StDev
25 | 26 | A099 | 0 | DOC | %RSD
26 | 27 | A111 | 126487.805 | DOC | 1
26 | 27 | A111 | 126487.805 | DOC | Avg
26 | 27 | A111 | 0 | DOC | StDev
26 | 27 | A111 | 0 | DOC | %RSD
27 | 28 | A123 | 219513.22 | DOC | 1
27 | 28 | A123 | 219513.22 | DOC | Avg
27 | 28 | A123 | 0 | DOC | StDev
27 | 28 | A123 | 0 | DOC | %RSD
28 | 29 | A135 | 188771.343 | DOC | 1
28 | 29 | A135 | 188771.343 | DOC | Avg
28 | 29 | A135 | 0 | DOC | StDev
28 | 29 | A135 | 0 | DOC | %RSD
29 | 30 | A124 | 170061.807 | DOC | 1
29 | 30 | A124 | 170061.807 | DOC | Avg
29 | 30 | A124 | 0 | DOC | StDev
29 | 30 | A124 | 0 | DOC | %RSD
30 | 31 | A136 | 143233.018 | DOC | 1
30 | 31 | A136 | 143233.018 | DOC | Avg
30 | 31 | A136 | 0 | DOC | StDev
30 | 31 | A136 | 0 | DOC | %RSD
31 | 32 | 5mg/L Cane Sugar | 121995.384 | DOC | 1
31 | 32 | 5mg/L Cane Sugar | 121995.384 | DOC | Avg
31 | 32 | 5mg/L Cane Sugar | 0 | DOC | StDev
31 | 32 | 5mg/L Cane Sugar | 0 | DOC | %RSD
32 | 33 | 5mg/L Cane Sugar | 121855.027 | DOC | 1
32 | 33 | 5mg/L Cane Sugar | 121855.027 | DOC | Avg
32 | 33 | 5mg/L Cane Sugar | 0 | DOC | StDev
32 | 33 | 5mg/L Cane Sugar | 0 | DOC | %RSD
33 | 34 | 5mg/L Cane Sugar | 122046.655 | DOC | 1
33 | 34 | 5mg/L Cane Sugar | 122046.655 | DOC | Avg
33 | 34 | 5mg/L Cane Sugar | 0 | DOC | StDev
33 | 34 | 5mg/L Cane Sugar | 0 | DOC | %RSD
34 | 35 | DI Blank | 2904.768 | -- | 1
34 | 35 | DI Blank | 2904.768 | -- | Avg
34 | 35 | DI Blank | 0 | -- | StDev
34 | 35 | DI Blank | 0 | -- | %RSD
- | 36 | Clean Up | 2717.531 | -- | 1
- | 36 | Clean Up | 2717.531 | -- | Avg
- | 36 | Clean Up | 0 | -- | StDev
- | 36 | Clean Up | 0 | -- | %RSD
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0

## Working Data
Vial# | Spl# | Sample ID | Area(cts) | Comments | Concentration (mg/L -C)
- | 1 | Clean Up | 3422.162 | -- | -0.01
1 | 2 | DI Blank | 2966.639 | -- | -0.03
2 | 3 | TOC CAL BLANK | 3299.806 | CAL | -0.01
3 | 4 | TOC CAL#1 | 5586.026 | CAL | 0.08
4 | 5 | TOC CAL#2 | 15537.469 | CAL | 0.5
5 | 6 | TOC CAL#3 | 28071.857 | CAL | 1.04
6 | 7 | TOC CAL#4 | 121435.482 | CAL | 4.99
7 | 8 | TOC CAL#5 | 221252.85 | CAL | 9.85
8 | 9 | DI Blank | 2545.422 | -- | -0.05
9 | 10 | MDL | 10851.795 | QC | 0.31
10 | 11 | RMV | 38786.066 | QC | 1.49
11 | 12 | LCS-01 | 39449.662 | QC | 1.52
12 | 13 | LCS-02 | 168709.941 | QC | 7.45
13 | 14 | DI Blank | 2612.113 | -- | -0.04
14 | 15 | A053 | 172233.381 | DOC | 7.61
15 | 16 | A028 | 152639.326 | DOC | 6.72
16 | 17 | A066 | 126015.477 | DOC | 5.51
17 | 18 | A133 | 99020.026 | DOC | 4.04
18 | 19 | A134 | 179899.183 | DOC | 7.96
19 | 20 | A087 | 124199.71 | DOC | 5.43
20 | 21 | 5mg/L Cane Sugar | 122064.741 | DOC | 5.33
21 | 22 | 5mg/L Cane Sugar | 122001.181 | DOC | 5.33
22 | 23 | 5mg/L Cane Sugar | 121894.069 | DOC | 5.32
23 | 24 | LCS-01 | 39692.853 | QC | 1.53
24 | 25 | DI Blank | 2685.195 | -- | -0.04
25 | 26 | A099 | 100231.57 | DOC | 4.09
26 | 27 | A111 | 126487.805 | DOC | 5.53
27 | 28 | A123 | 219513.22 | DOC | 9.77
28 | 29 | A135 | 188771.343 | DOC | 8.37
29 | 30 | A124 | 170061.807 | DOC | 7.52
30 | 31 | A136 | 143233.018 | DOC | 6.29
31 | 32 | 5mg/L Cane Sugar | 121995.384 | DOC | 5.32
32 | 33 | 5mg/L Cane Sugar | 121855.027 | DOC | 5.32
33 | 34 | 5mg/L Cane Sugar | 122046.655 | DOC | 5.33
34 | 35 | DI Blank | 2904.768 | -- | -0.03
- | 36 | Clean Up | 2717.531 | -- | -0.04
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15
-0.15

## Calibration
CALIBRATION DATA
Sample ID | Peak Area (cts) | Concentration (mg/L - C)
TOCcal BLANK | 3299.806 | 0
TOCcal #1 | 5586.026 | 0.1
TOCcal #2 | 15537.469 | 0.5
TOCcal #3 | 28071.857 | 1
TOCcal #4 | 121435.482 | 5
TOCcal #5 | 221252.85 | 10
TOCcal #6 |  | 20
| 0-5ppb | 0-10ppb
Slope = | 23592 | 21943
Intercept = | 3645 | 5154.6

## QC
REPLICATES | [5 empty] | Chk-DL
|  |  | DOC (mg/L - C) |  |  |  |  | DOC (mg/L - C)
QC Type | # | Sample ID | Source | Rep | Precision | QC Type | # | Known | Measured | Error
Rep | 1 |  |  |  | #DIV/0! | MDL | 1 | 0.3 | 0.31 | 0.01
Rep | 2 |  |  |  | #DIV/0! | MDL | 2 |  |  | -0.3
Rep | 3 |  |  |  | #DIV/0!
Rep | 4 |  |  |  | #DIV/0! | Chk-01
Rep | 5 |  |  |  | #DIV/0! |  |  | DOC (mg/L - C)
Rep | 6 |  |  |  | #DIV/0! | QC Type | # | Known | Measured | Recovery
Rep | 7 |  |  |  | #DIV/0! | LCS-01 | 1 | 1.5 | 1.52 | 0.02
Rep | 8 |  |  |  | #DIV/0! | LCS-01 | 2 |  | 1.53 | 0.03
Rep | 9 |  |  |  | #DIV/0! | LCS-01 | 3 |  |  | -1.5
Rep | 10 |  |  |  | #DIV/0! | LCS-01 | 4 |  |  | -1.5
[6 empty] | LCS-01 | 5 |  |  | -1.5
[6 empty] | LCS-01 | 6 |  |  | -1.5
[6 empty] | LCS-01 | 7 |  |  | -1.5
[6 empty] | LCS-01 | 8 |  |  | -1.5
[6 empty] | LCS-01 | 9 |  |  | -1.5
[6 empty] | LCS-01 | 10 |  |  | -1.5
Chk-02
TOC (mg/L - C)
[6 empty] | QC Type | # | Known | Measured | Recovery
[6 empty] | LCS-02 | 1 | 7.5 | 7.45 | -0.7%
[6 empty] | LCS-02 | 2 |  |  | -100.0%
[6 empty] | LCS-02 | 3 |  |  | -100.0%
[6 empty] | LCS-02 | 4 |  |  | -100.0%
[6 empty] | LCS-02 | 5 |  |  | -100.0%
[6 empty] | LCS-02 | 6 |  |  | -100.0%
[6 empty] | LCS-02 | 7 |  |  | -100.0%
[6 empty] | LCS-02 | 8 |  |  | -100.0%
[6 empty] | LCS-02 | 9 |  |  | -100.0%
[6 empty] | LCS-02 | 10 |  |  | -100.0%

## Data Report
* Only final sample data appear in this worksheet
Procedure: |  | RAW DATA FILE NAME: | Hall_201117
1. Enter user and run information into blue box |  | DATE: | 2020-11-17
2. Paste sample IDs into column A |  | ANALYST: | A. Baumann
3. Paste calculated concentrations into column B
Dissolved Organic Carbon
Sample ID
(mg/L - C)
A053 | 7.61
A028 | 6.72
A066 | 5.51
A133 | 4.04
A134 | 7.96
A087 | 5.43
A099 | 4.09
A111 | 5.53
A123 | 9.77
A135 | 8.37
A124 | 7.52
A136 | 6.29