## SM Parser
Employee | A. Baumann
Test Date | 2020-12-04
QCBatchID
SampleNumber | DOC
RMV

## Raw Data
Date | Time | Vial# | Spl# | #Reps | Sample ID | Type | Mode | Area(cts) | Mass(ugC) | Conc (PPM as mg/L C) | Method | InstrumentID | UserID | Comments
2020-12-04 | 16:21 | - | 1 | 1 | Clean Up | CleanUp | TC | 3686.844 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc | --
2020-12-04 | 16:21 | - | 1 | Avg | Clean Up | CleanUp | TC | 3686.844 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc | --
2020-12-04 | 16:21 | - | 1 | StDev | Clean Up | CleanUp | TC | 0 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc | --
2020-12-04 | 16:21 | - | 1 | %RSD | Clean Up | CleanUp | TC | 0 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc | --
2020-12-04 | 16:44 | 1 | 2 | 1 | DI Blank | Sample | TOC | 2784.492 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-12-04 | 16:44 | 1 | 2 | Avg | DI Blank | Sample | TOC | 2784.492 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-12-04 | 16:44 | 1 | 2 | StDev | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-12-04 | 16:44 | 1 | 2 | %RSD | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-12-04 | 17:04 | 2 | 3 | 1 | TOC CAL BLANK | Sample | TOC | 2280.316 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-12-04 | 17:04 | 2 | 3 | Avg | TOC CAL BLANK | Sample | TOC | 2280.316 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-12-04 | 17:04 | 2 | 3 | StDev | TOC CAL BLANK | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-12-04 | 17:04 | 2 | 3 | %RSD | TOC CAL BLANK | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-12-04 | 17:21 | 3 | 4 | 1 | TOC CAL#1 | Sample | TOC | 4998.702 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-12-04 | 17:21 | 3 | 4 | Avg | TOC CAL#1 | Sample | TOC | 4998.702 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-12-04 | 17:21 | 3 | 4 | StDev | TOC CAL#1 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-12-04 | 17:21 | 3 | 4 | %RSD | TOC CAL#1 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-12-04 | 17:42 | 4 | 5 | 1 | TOC CAL#2 | Sample | TOC | 15764.608 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-12-04 | 17:42 | 4 | 5 | Avg | TOC CAL#2 | Sample | TOC | 15764.608 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-12-04 | 17:42 | 4 | 5 | StDev | TOC CAL#2 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-12-04 | 17:42 | 4 | 5 | %RSD | TOC CAL#2 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-12-04 | 18:05 | 5 | 6 | 1 | TOC CAL#3 | Sample | TOC | 29628.09 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-12-04 | 18:05 | 5 | 6 | Avg | TOC CAL#3 | Sample | TOC | 29628.09 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-12-04 | 18:05 | 5 | 6 | StDev | TOC CAL#3 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-12-04 | 18:05 | 5 | 6 | %RSD | TOC CAL#3 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-12-04 | 18:29 | 6 | 7 | 1 | TOC CAL#4 | Sample | TOC | 136705.594 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-12-04 | 18:29 | 6 | 7 | Avg | TOC CAL#4 | Sample | TOC | 136705.594 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-12-04 | 18:29 | 6 | 7 | StDev | TOC CAL#4 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-12-04 | 18:29 | 6 | 7 | %RSD | TOC CAL#4 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-12-04 | 18:56 | 7 | 8 | 1 | TOC CAL#5 | Sample | TOC | 257017.502 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-12-04 | 18:56 | 7 | 8 | Avg | TOC CAL#5 | Sample | TOC | 257017.502 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-12-04 | 18:56 | 7 | 8 | StDev | TOC CAL#5 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-12-04 | 18:56 | 7 | 8 | %RSD | TOC CAL#5 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2020-12-04 | 19:24 | 8 | 9 | 1 | DI Blank | Sample | TOC | 1745.096 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-12-04 | 19:24 | 8 | 9 | Avg | DI Blank | Sample | TOC | 1745.096 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-12-04 | 19:24 | 8 | 9 | StDev | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-12-04 | 19:24 | 8 | 9 | %RSD | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-12-04 | 19:41 | 9 | 10 | 1 | MDL | Sample | TOC | 10740.812 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-12-04 | 19:41 | 9 | 10 | Avg | MDL | Sample | TOC | 10740.812 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-12-04 | 19:41 | 9 | 10 | StDev | MDL | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-12-04 | 19:41 | 9 | 10 | %RSD | MDL | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-12-04 | 20:03 | 11 | 11 | 1 | LCS-01 | Sample | TOC | 42461.332 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-12-04 | 20:03 | 11 | 11 | Avg | LCS-01 | Sample | TOC | 42461.332 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-12-04 | 20:03 | 11 | 11 | StDev | LCS-01 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-12-04 | 20:03 | 11 | 11 | %RSD | LCS-01 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-12-04 | 20:27 | 12 | 12 | 1 | LCS-02 | Sample | TOC | 192711.004 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-12-04 | 20:27 | 12 | 12 | Avg | LCS-02 | Sample | TOC | 192711.004 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-12-04 | 20:27 | 12 | 12 | StDev | LCS-02 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-12-04 | 20:27 | 12 | 12 | %RSD | LCS-02 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-12-04 | 20:55 | 13 | 13 | 1 | DI Blank | Sample | TOC | 1702.835 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-12-04 | 20:55 | 13 | 13 | Avg | DI Blank | Sample | TOC | 1702.835 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-12-04 | 20:55 | 13 | 13 | StDev | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-12-04 | 20:55 | 13 | 13 | %RSD | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-12-04 | 21:12 | 14 | 14 | 1 | A034 | Sample | TOC | 56651.879 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-04 | 21:12 | 14 | 14 | Avg | A034 | Sample | TOC | 56651.879 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-04 | 21:12 | 14 | 14 | StDev | A034 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-04 | 21:12 | 14 | 14 | %RSD | A034 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-04 | 21:37 | 15 | 15 | 1 | A046 | Sample | TOC | 60504.053 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-04 | 21:37 | 15 | 15 | Avg | A046 | Sample | TOC | 60504.053 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-04 | 21:37 | 15 | 15 | StDev | A046 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-04 | 21:37 | 15 | 15 | %RSD | A046 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-04 | 22:03 | 16 | 16 | 1 | A021 | Sample | TOC | 57736.454 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-04 | 22:03 | 16 | 16 | Avg | A021 | Sample | TOC | 57736.454 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-04 | 22:03 | 16 | 16 | StDev | A021 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-04 | 22:03 | 16 | 16 | %RSD | A021 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-04 | 22:28 | 17 | 17 | 1 | A045 | Sample | TOC | 59193.985 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-04 | 22:28 | 17 | 17 | Avg | A045 | Sample | TOC | 59193.985 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-04 | 22:28 | 17 | 17 | StDev | A045 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-04 | 22:28 | 17 | 17 | %RSD | A045 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-04 | 22:53 | 18 | 18 | 1 | A008 | Sample | TOC | 118007.374 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-04 | 22:53 | 18 | 18 | Avg | A008 | Sample | TOC | 118007.374 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-04 | 22:53 | 18 | 18 | StDev | A008 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-04 | 22:53 | 18 | 18 | %RSD | A008 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-04 | 23:20 | 19 | 19 | 1 | A069 | Sample | TOC | 82791.274 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-04 | 23:20 | 19 | 19 | Avg | A069 | Sample | TOC | 82791.274 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-04 | 23:20 | 19 | 19 | StDev | A069 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-04 | 23:20 | 19 | 19 | %RSD | A069 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-04 | 23:46 | 20 | 20 | 1 | A019 | Sample | TOC | 57923.92 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-04 | 23:46 | 20 | 20 | Avg | A019 | Sample | TOC | 57923.92 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-04 | 23:46 | 20 | 20 | StDev | A019 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-04 | 23:46 | 20 | 20 | %RSD | A019 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 0:11 | 21 | 21 | 1 | A031 | Sample | TOC | 57262.477 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 0:11 | 21 | 21 | Avg | A031 | Sample | TOC | 57262.477 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 0:11 | 21 | 21 | StDev | A031 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 0:11 | 21 | 21 | %RSD | A031 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 0:36 | 22 | 22 | 1 | A071 | Sample | TOC | 73136.331 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 0:36 | 22 | 22 | Avg | A071 | Sample | TOC | 73136.331 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 0:36 | 22 | 22 | StDev | A071 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 0:36 | 22 | 22 | %RSD | A071 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 1:02 | 23 | 23 | 1 | A009 | Sample | TOC | 58421.567 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 1:02 | 23 | 23 | Avg | A009 | Sample | TOC | 58421.567 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 1:02 | 23 | 23 | StDev | A009 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 1:02 | 23 | 23 | %RSD | A009 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 1:27 | 24 | 24 | 1 | A072 | Sample | TOC | 66017.123 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 1:27 | 24 | 24 | Avg | A072 | Sample | TOC | 66017.123 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 1:27 | 24 | 24 | StDev | A072 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 1:27 | 24 | 24 | %RSD | A072 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 1:53 | 25 | 25 | 1 | A070 | Sample | TOC | 167468.366 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 1:53 | 25 | 25 | Avg | A070 | Sample | TOC | 167468.366 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 1:53 | 25 | 25 | StDev | A070 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 1:53 | 25 | 25 | %RSD | A070 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 2:20 | 26 | 26 | 1 | A022 | Sample | TOC | 56546.715 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 2:20 | 26 | 26 | Avg | A022 | Sample | TOC | 56546.715 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 2:20 | 26 | 26 | StDev | A022 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 2:20 | 26 | 26 | %RSD | A022 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 2:45 | 27 | 27 | 1 | LCS-Cane Sugar | Sample | TOC | 136304.81 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-12-05 | 2:45 | 27 | 27 | Avg | LCS-Cane Sugar | Sample | TOC | 136304.81 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-12-05 | 2:45 | 27 | 27 | StDev | LCS-Cane Sugar | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-12-05 | 2:45 | 27 | 27 | %RSD | LCS-Cane Sugar | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-12-05 | 3:12 | 28 | 28 | 1 | DI Blank | Sample | TOC | 2169.175 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-12-05 | 3:12 | 28 | 28 | Avg | DI Blank | Sample | TOC | 2169.175 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-12-05 | 3:12 | 28 | 28 | StDev | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-12-05 | 3:12 | 28 | 28 | %RSD | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-12-05 | 3:29 | 29 | 29 | 1 | A007 | Sample | TOC | 61007.366 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 3:29 | 29 | 29 | Avg | A007 | Sample | TOC | 61007.366 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 3:29 | 29 | 29 | StDev | A007 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 3:29 | 29 | 29 | %RSD | A007 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 3:54 | 30 | 30 | 1 | A032 | Sample | TOC | 143207.021 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 3:54 | 30 | 30 | Avg | A032 | Sample | TOC | 143207.021 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 3:54 | 30 | 30 | StDev | A032 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 3:54 | 30 | 30 | %RSD | A032 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 4:21 | 31 | 31 | 1 | A067 | Sample | TOC | 73817.994 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 4:21 | 31 | 31 | Avg | A067 | Sample | TOC | 73817.994 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 4:21 | 31 | 31 | StDev | A067 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 4:21 | 31 | 31 | %RSD | A067 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 4:47 | 32 | 32 | 1 | A055 | Sample | TOC | 112202.322 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 4:47 | 32 | 32 | Avg | A055 | Sample | TOC | 112202.322 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 4:47 | 32 | 32 | StDev | A055 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 4:47 | 32 | 32 | %RSD | A055 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 5:14 | 33 | 33 | 1 | A057 | Sample | TOC | 61118.999 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 5:14 | 33 | 33 | Avg | A057 | Sample | TOC | 61118.999 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 5:14 | 33 | 33 | StDev | A057 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 5:14 | 33 | 33 | %RSD | A057 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 5:39 | 34 | 34 | 1 | A043 | Sample | TOC | 59064.524 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 5:39 | 34 | 34 | Avg | A043 | Sample | TOC | 59064.524 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 5:39 | 34 | 34 | StDev | A043 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 5:39 | 34 | 34 | %RSD | A043 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 6:04 | 35 | 35 | 1 | A060 | Sample | TOC | 70587.36 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 6:04 | 35 | 35 | Avg | A060 | Sample | TOC | 70587.36 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 6:04 | 35 | 35 | StDev | A060 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 6:04 | 35 | 35 | %RSD | A060 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 6:30 | 36 | 36 | 1 | A059 | Sample | TOC | 58798.833 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 6:30 | 36 | 36 | Avg | A059 | Sample | TOC | 58798.833 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 6:30 | 36 | 36 | StDev | A059 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 6:30 | 36 | 36 | %RSD | A059 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 6:55 | 37 | 37 | 1 | A020 | Sample | TOC | 56731.036 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 6:55 | 37 | 37 | Avg | A020 | Sample | TOC | 56731.036 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 6:55 | 37 | 37 | StDev | A020 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 6:55 | 37 | 37 | %RSD | A020 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 7:21 | 38 | 38 | 1 | A056 | Sample | TOC | 57156.637 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 7:21 | 38 | 38 | Avg | A056 | Sample | TOC | 57156.637 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 7:21 | 38 | 38 | StDev | A056 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 7:21 | 38 | 38 | %RSD | A056 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 7:46 | 39 | 39 | 1 | A058 | Sample | TOC | 57806.72 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 7:46 | 39 | 39 | Avg | A058 | Sample | TOC | 57806.72 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 7:46 | 39 | 39 | StDev | A058 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 7:46 | 39 | 39 | %RSD | A058 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 8:11 | 40 | 40 | 1 | A048 | Sample | TOC | 142805.756 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 8:11 | 40 | 40 | Avg | A048 | Sample | TOC | 142805.756 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 8:11 | 40 | 40 | StDev | A048 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 8:11 | 40 | 40 | %RSD | A048 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 8:38 | 41 | 41 | 1 | A011 | Sample | TOC | 142703.298 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 8:38 | 41 | 41 | Avg | A011 | Sample | TOC | 142703.298 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 8:38 | 41 | 41 | StDev | A011 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 8:38 | 41 | 41 | %RSD | A011 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 9:05 | 42 | 42 | 1 | LCS-Cane Sugar | Sample | TOC | 135098.597 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-12-05 | 9:05 | 42 | 42 | Avg | LCS-Cane Sugar | Sample | TOC | 135098.597 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-12-05 | 9:05 | 42 | 42 | StDev | LCS-Cane Sugar | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-12-05 | 9:05 | 42 | 42 | %RSD | LCS-Cane Sugar | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-12-05 | 9:32 | 43 | 43 | 1 | DI Blank | Sample | TOC | 2248.705 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-12-05 | 9:32 | 43 | 43 | Avg | DI Blank | Sample | TOC | 2248.705 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-12-05 | 9:32 | 43 | 43 | StDev | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-12-05 | 9:32 | 43 | 43 | %RSD | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-12-05 | 9:49 | 44 | 44 | 1 | A044 | Sample | TOC | 154590.239 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 9:49 | 44 | 44 | Avg | A044 | Sample | TOC | 154590.239 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 9:49 | 44 | 44 | StDev | A044 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 9:49 | 44 | 44 | %RSD | A044 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 10:16 | 45 | 45 | 1 | A035 | Sample | TOC | 138474.583 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 10:16 | 45 | 45 | Avg | A035 | Sample | TOC | 138474.583 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 10:16 | 45 | 45 | StDev | A035 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 10:16 | 45 | 45 | %RSD | A035 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 10:43 | 46 | 46 | 1 | A033 | Sample | TOC | 164935.675 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 10:43 | 46 | 46 | Avg | A033 | Sample | TOC | 164935.675 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 10:43 | 46 | 46 | StDev | A033 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 10:43 | 46 | 46 | %RSD | A033 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 11:10 | 47 | 47 | 1 | A047 | Sample | TOC | 150549.75 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 11:10 | 47 | 47 | Avg | A047 | Sample | TOC | 150549.75 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 11:10 | 47 | 47 | StDev | A047 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 11:10 | 47 | 47 | %RSD | A047 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 11:37 | 48 | 48 | 1 | A012 | Sample | TOC | 141533.03 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 11:37 | 48 | 48 | Avg | A012 | Sample | TOC | 141533.03 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 11:37 | 48 | 48 | StDev | A012 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 11:37 | 48 | 48 | %RSD | A012 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 12:04 | 49 | 49 | 1 | A024 | Sample | TOC | 125956.948 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 12:04 | 49 | 49 | Avg | A024 | Sample | TOC | 125956.948 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 12:04 | 49 | 49 | StDev | A024 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 12:04 | 49 | 49 | %RSD | A024 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 12:31 | 50 | 50 | 1 | A036 | Sample | TOC | 131525.858 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 12:31 | 50 | 50 | Avg | A036 | Sample | TOC | 131525.858 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 12:31 | 50 | 50 | StDev | A036 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 12:31 | 50 | 50 | %RSD | A036 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 12:58 | 51 | 51 | 1 | A068 | Sample | TOC | 99468.415 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 12:58 | 51 | 51 | Avg | A068 | Sample | TOC | 99468.415 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 12:58 | 51 | 51 | StDev | A068 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 12:58 | 51 | 51 | %RSD | A068 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 13:24 | 52 | 52 | 1 | A010 | Sample | TOC | 140105.222 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 13:24 | 52 | 52 | Avg | A010 | Sample | TOC | 140105.222 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 13:24 | 52 | 52 | StDev | A010 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 13:24 | 52 | 52 | %RSD | A010 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 13:51 | 53 | 53 | 1 | A001 | Sample | TOC | 60862.226 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 13:51 | 53 | 53 | Avg | A001 | Sample | TOC | 60862.226 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 13:51 | 53 | 53 | StDev | A001 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 13:51 | 53 | 53 | %RSD | A001 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 14:16 | 54 | 54 | 1 | A050 | Sample | TOC | 60717.569 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 14:16 | 54 | 54 | Avg | A050 | Sample | TOC | 60717.569 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 14:16 | 54 | 54 | StDev | A050 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 14:16 | 54 | 54 | %RSD | A050 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 14:42 | 55 | 55 | 1 | A052 | Sample | TOC | 61505.39 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 14:42 | 55 | 55 | Avg | A052 | Sample | TOC | 61505.39 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 14:42 | 55 | 55 | StDev | A052 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 14:42 | 55 | 55 | %RSD | A052 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 15:07 | 56 | 56 | 1 | A062 | Sample | TOC | 71738.334 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 15:07 | 56 | 56 | Avg | A062 | Sample | TOC | 71738.334 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 15:07 | 56 | 56 | StDev | A062 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 15:07 | 56 | 56 | %RSD | A062 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 15:33 | 57 | 57 | 1 | LCS-Cane Sugar | Sample | TOC | 136872.976 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-12-05 | 15:33 | 57 | 57 | Avg | LCS-Cane Sugar | Sample | TOC | 136872.976 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-12-05 | 15:33 | 57 | 57 | StDev | LCS-Cane Sugar | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-12-05 | 15:33 | 57 | 57 | %RSD | LCS-Cane Sugar | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-12-05 | 15:59 | 58 | 58 | 1 | DI Blank | Sample | TOC | 2185.702 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-12-05 | 15:59 | 58 | 58 | Avg | DI Blank | Sample | TOC | 2185.702 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-12-05 | 15:59 | 58 | 58 | StDev | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-12-05 | 15:59 | 58 | 58 | %RSD | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-12-05 | 16:17 | 59 | 59 | 1 | A017 | Sample | TOC | 57402.967 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 16:17 | 59 | 59 | Avg | A017 | Sample | TOC | 57402.967 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 16:17 | 59 | 59 | StDev | A017 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 16:17 | 59 | 59 | %RSD | A017 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 16:42 | 60 | 60 | 1 | A005 | Sample | TOC | 57846.264 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 16:42 | 60 | 60 | Avg | A005 | Sample | TOC | 57846.264 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 16:42 | 60 | 60 | StDev | A005 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 16:42 | 60 | 60 | %RSD | A005 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 17:07 | 61 | 61 | 1 | A006 | Sample | TOC | 59787.447 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 17:07 | 61 | 61 | Avg | A006 | Sample | TOC | 59787.447 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 17:07 | 61 | 61 | StDev | A006 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 17:07 | 61 | 61 | %RSD | A006 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 17:33 | 62 | 62 | 1 | A039 | Sample | TOC | 60555.789 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 17:33 | 62 | 62 | Avg | A039 | Sample | TOC | 60555.789 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 17:33 | 62 | 62 | StDev | A039 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 17:33 | 62 | 62 | %RSD | A039 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 17:58 | 63 | 63 | 1 | A018 | Sample | TOC | 60858.951 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 17:58 | 63 | 63 | Avg | A018 | Sample | TOC | 60858.951 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 17:58 | 63 | 63 | StDev | A018 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 17:58 | 63 | 63 | %RSD | A018 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2020-12-05 | 18:24 | 64 | 64 | 1 | LCS-Cane Sugar | Sample | TOC | 135217.638 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-12-05 | 18:24 | 64 | 64 | Avg | LCS-Cane Sugar | Sample | TOC | 135217.638 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-12-05 | 18:24 | 64 | 64 | StDev | LCS-Cane Sugar | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-12-05 | 18:24 | 64 | 64 | %RSD | LCS-Cane Sugar | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2020-12-05 | 18:50 | 65 | 65 | 1 | DI Blank | Sample | TOC | 2103.593 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-12-05 | 18:50 | 65 | 65 | Avg | DI Blank | Sample | TOC | 2103.593 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-12-05 | 18:50 | 65 | 65 | StDev | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-12-05 | 18:50 | 65 | 65 | %RSD | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2020-12-05 | 19:02 | - | 66 | 1 | Clean Up | CleanUp | TC | 1855.385 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc | --
2020-12-05 | 19:02 | - | 66 | Avg | Clean Up | CleanUp | TC | 1855.385 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc | --
2020-12-05 | 19:02 | - | 66 | StDev | Clean Up | CleanUp | TC | 0 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc | --
2020-12-05 | 19:02 | - | 66 | %RSD | Clean Up | CleanUp | TC | 0 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc | --

## Sorted Data
Vial# | Spl# | Sample ID | Area(cts) | Comments | #Reps | *Filter data by "Reps" for "Avg" only
- | 1 | Clean Up | 3686.844 | -- | 1 | *Sort data by unchecking "DOC" in "Comments" field
- | 1 | Clean Up | 3686.844 | -- | Avg
- | 1 | Clean Up | 0 | -- | StDev
- | 1 | Clean Up | 0 | -- | %RSD
1 | 2 | DI Blank | 2784.492 | -- | 1
1 | 2 | DI Blank | 2784.492 | -- | Avg
1 | 2 | DI Blank | 0 | -- | StDev
1 | 2 | DI Blank | 0 | -- | %RSD
2 | 3 | TOC CAL BLANK | 2280.316 | CAL | 1
2 | 3 | TOC CAL BLANK | 2280.316 | CAL | Avg
2 | 3 | TOC CAL BLANK | 0 | CAL | StDev
2 | 3 | TOC CAL BLANK | 0 | CAL | %RSD
3 | 4 | TOC CAL#1 | 4998.702 | CAL | 1
3 | 4 | TOC CAL#1 | 4998.702 | CAL | Avg
3 | 4 | TOC CAL#1 | 0 | CAL | StDev
3 | 4 | TOC CAL#1 | 0 | CAL | %RSD
4 | 5 | TOC CAL#2 | 15764.608 | CAL | 1
4 | 5 | TOC CAL#2 | 15764.608 | CAL | Avg
4 | 5 | TOC CAL#2 | 0 | CAL | StDev
4 | 5 | TOC CAL#2 | 0 | CAL | %RSD
5 | 6 | TOC CAL#3 | 29628.09 | CAL | 1
5 | 6 | TOC CAL#3 | 29628.09 | CAL | Avg
5 | 6 | TOC CAL#3 | 0 | CAL | StDev
5 | 6 | TOC CAL#3 | 0 | CAL | %RSD
6 | 7 | TOC CAL#4 | 136705.594 | CAL | 1
6 | 7 | TOC CAL#4 | 136705.594 | CAL | Avg
6 | 7 | TOC CAL#4 | 0 | CAL | StDev
6 | 7 | TOC CAL#4 | 0 | CAL | %RSD
7 | 8 | TOC CAL#5 | 257017.502 | CAL | 1
7 | 8 | TOC CAL#5 | 257017.502 | CAL | Avg
7 | 8 | TOC CAL#5 | 0 | CAL | StDev
7 | 8 | TOC CAL#5 | 0 | CAL | %RSD
8 | 9 | DI Blank | 1745.096 | -- | 1
8 | 9 | DI Blank | 1745.096 | -- | Avg
8 | 9 | DI Blank | 0 | -- | StDev
8 | 9 | DI Blank | 0 | -- | %RSD
9 | 10 | MDL | 10740.812 | QC | 1
9 | 10 | MDL | 10740.812 | QC | Avg
9 | 10 | MDL | 0 | QC | StDev
9 | 10 | MDL | 0 | QC | %RSD
11 | 11 | LCS-01 | 42461.332 | QC | 1
11 | 11 | LCS-01 | 42461.332 | QC | Avg
11 | 11 | LCS-01 | 0 | QC | StDev
11 | 11 | LCS-01 | 0 | QC | %RSD
12 | 12 | LCS-02 | 192711.004 | QC | 1
12 | 12 | LCS-02 | 192711.004 | QC | Avg
12 | 12 | LCS-02 | 0 | QC | StDev
12 | 12 | LCS-02 | 0 | QC | %RSD
13 | 13 | DI Blank | 1702.835 | -- | 1
13 | 13 | DI Blank | 1702.835 | -- | Avg
13 | 13 | DI Blank | 0 | -- | StDev
13 | 13 | DI Blank | 0 | -- | %RSD
14 | 14 | A034 | 56651.879 | DO13C | 1
14 | 14 | A034 | 56651.879 | DO13C | Avg
14 | 14 | A034 | 0 | DO13C | StDev
14 | 14 | A034 | 0 | DO13C | %RSD
15 | 15 | A046 | 60504.053 | DO13C | 1
15 | 15 | A046 | 60504.053 | DO13C | Avg
15 | 15 | A046 | 0 | DO13C | StDev
15 | 15 | A046 | 0 | DO13C | %RSD
16 | 16 | A021 | 57736.454 | DO13C | 1
16 | 16 | A021 | 57736.454 | DO13C | Avg
16 | 16 | A021 | 0 | DO13C | StDev
16 | 16 | A021 | 0 | DO13C | %RSD
17 | 17 | A045 | 59193.985 | DO13C | 1
17 | 17 | A045 | 59193.985 | DO13C | Avg
17 | 17 | A045 | 0 | DO13C | StDev
17 | 17 | A045 | 0 | DO13C | %RSD
18 | 18 | A008 | 118007.374 | DO13C | 1
18 | 18 | A008 | 118007.374 | DO13C | Avg
18 | 18 | A008 | 0 | DO13C | StDev
18 | 18 | A008 | 0 | DO13C | %RSD
19 | 19 | A069 | 82791.274 | DO13C | 1
19 | 19 | A069 | 82791.274 | DO13C | Avg
19 | 19 | A069 | 0 | DO13C | StDev
19 | 19 | A069 | 0 | DO13C | %RSD
20 | 20 | A019 | 57923.92 | DO13C | 1
20 | 20 | A019 | 57923.92 | DO13C | Avg
20 | 20 | A019 | 0 | DO13C | StDev
20 | 20 | A019 | 0 | DO13C | %RSD
21 | 21 | A031 | 57262.477 | DO13C | 1
21 | 21 | A031 | 57262.477 | DO13C | Avg
21 | 21 | A031 | 0 | DO13C | StDev
21 | 21 | A031 | 0 | DO13C | %RSD
22 | 22 | A071 | 73136.331 | DO13C | 1
22 | 22 | A071 | 73136.331 | DO13C | Avg
22 | 22 | A071 | 0 | DO13C | StDev
22 | 22 | A071 | 0 | DO13C | %RSD
23 | 23 | A009 | 58421.567 | DO13C | 1
23 | 23 | A009 | 58421.567 | DO13C | Avg
23 | 23 | A009 | 0 | DO13C | StDev
23 | 23 | A009 | 0 | DO13C | %RSD
24 | 24 | A072 | 66017.123 | DO13C | 1
24 | 24 | A072 | 66017.123 | DO13C | Avg
24 | 24 | A072 | 0 | DO13C | StDev
24 | 24 | A072 | 0 | DO13C | %RSD
25 | 25 | A070 | 167468.366 | DO13C | 1
25 | 25 | A070 | 167468.366 | DO13C | Avg
25 | 25 | A070 | 0 | DO13C | StDev
25 | 25 | A070 | 0 | DO13C | %RSD
26 | 26 | A022 | 56546.715 | DO13C | 1
26 | 26 | A022 | 56546.715 | DO13C | Avg
26 | 26 | A022 | 0 | DO13C | StDev
26 | 26 | A022 | 0 | DO13C | %RSD
27 | 27 | LCS-Cane Sugar | 136304.81 | QC | 1
27 | 27 | LCS-Cane Sugar | 136304.81 | QC | Avg
27 | 27 | LCS-Cane Sugar | 0 | QC | StDev
27 | 27 | LCS-Cane Sugar | 0 | QC | %RSD
28 | 28 | DI Blank | 2169.175 | -- | 1
28 | 28 | DI Blank | 2169.175 | -- | Avg
28 | 28 | DI Blank | 0 | -- | StDev
28 | 28 | DI Blank | 0 | -- | %RSD
29 | 29 | A007 | 61007.366 | DO13C | 1
29 | 29 | A007 | 61007.366 | DO13C | Avg
29 | 29 | A007 | 0 | DO13C | StDev
29 | 29 | A007 | 0 | DO13C | %RSD
30 | 30 | A032 | 143207.021 | DO13C | 1
30 | 30 | A032 | 143207.021 | DO13C | Avg
30 | 30 | A032 | 0 | DO13C | StDev
30 | 30 | A032 | 0 | DO13C | %RSD
31 | 31 | A067 | 73817.994 | DO13C | 1
31 | 31 | A067 | 73817.994 | DO13C | Avg
31 | 31 | A067 | 0 | DO13C | StDev
31 | 31 | A067 | 0 | DO13C | %RSD
32 | 32 | A055 | 112202.322 | DO13C | 1
32 | 32 | A055 | 112202.322 | DO13C | Avg
32 | 32 | A055 | 0 | DO13C | StDev
32 | 32 | A055 | 0 | DO13C | %RSD
33 | 33 | A057 | 61118.999 | DO13C | 1
33 | 33 | A057 | 61118.999 | DO13C | Avg
33 | 33 | A057 | 0 | DO13C | StDev
33 | 33 | A057 | 0 | DO13C | %RSD
34 | 34 | A043 | 59064.524 | DO13C | 1
34 | 34 | A043 | 59064.524 | DO13C | Avg
34 | 34 | A043 | 0 | DO13C | StDev
34 | 34 | A043 | 0 | DO13C | %RSD
35 | 35 | A060 | 70587.36 | DO13C | 1
35 | 35 | A060 | 70587.36 | DO13C | Avg
35 | 35 | A060 | 0 | DO13C | StDev
35 | 35 | A060 | 0 | DO13C | %RSD
36 | 36 | A059 | 58798.833 | DO13C | 1
36 | 36 | A059 | 58798.833 | DO13C | Avg
36 | 36 | A059 | 0 | DO13C | StDev
36 | 36 | A059 | 0 | DO13C | %RSD
37 | 37 | A020 | 56731.036 | DO13C | 1
37 | 37 | A020 | 56731.036 | DO13C | Avg
37 | 37 | A020 | 0 | DO13C | StDev
37 | 37 | A020 | 0 | DO13C | %RSD
38 | 38 | A056 | 57156.637 | DO13C | 1
38 | 38 | A056 | 57156.637 | DO13C | Avg
38 | 38 | A056 | 0 | DO13C | StDev
38 | 38 | A056 | 0 | DO13C | %RSD
39 | 39 | A058 | 57806.72 | DO13C | 1
39 | 39 | A058 | 57806.72 | DO13C | Avg
39 | 39 | A058 | 0 | DO13C | StDev
39 | 39 | A058 | 0 | DO13C | %RSD
40 | 40 | A048 | 142805.756 | DO13C | 1
40 | 40 | A048 | 142805.756 | DO13C | Avg
40 | 40 | A048 | 0 | DO13C | StDev
40 | 40 | A048 | 0 | DO13C | %RSD
41 | 41 | A011 | 142703.298 | DO13C | 1
41 | 41 | A011 | 142703.298 | DO13C | Avg
41 | 41 | A011 | 0 | DO13C | StDev
41 | 41 | A011 | 0 | DO13C | %RSD
42 | 42 | LCS-Cane Sugar | 135098.597 | QC | 1
42 | 42 | LCS-Cane Sugar | 135098.597 | QC | Avg
42 | 42 | LCS-Cane Sugar | 0 | QC | StDev
42 | 42 | LCS-Cane Sugar | 0 | QC | %RSD
43 | 43 | DI Blank | 2248.705 | -- | 1
43 | 43 | DI Blank | 2248.705 | -- | Avg
43 | 43 | DI Blank | 0 | -- | StDev
43 | 43 | DI Blank | 0 | -- | %RSD
44 | 44 | A044 | 154590.239 | DO13C | 1
44 | 44 | A044 | 154590.239 | DO13C | Avg
44 | 44 | A044 | 0 | DO13C | StDev
44 | 44 | A044 | 0 | DO13C | %RSD
45 | 45 | A035 | 138474.583 | DO13C | 1
45 | 45 | A035 | 138474.583 | DO13C | Avg
45 | 45 | A035 | 0 | DO13C | StDev
45 | 45 | A035 | 0 | DO13C | %RSD
46 | 46 | A033 | 164935.675 | DO13C | 1
46 | 46 | A033 | 164935.675 | DO13C | Avg
46 | 46 | A033 | 0 | DO13C | StDev
46 | 46 | A033 | 0 | DO13C | %RSD
47 | 47 | A047 | 150549.75 | DO13C | 1
47 | 47 | A047 | 150549.75 | DO13C | Avg
47 | 47 | A047 | 0 | DO13C | StDev
47 | 47 | A047 | 0 | DO13C | %RSD
48 | 48 | A012 | 141533.03 | DO13C | 1
48 | 48 | A012 | 141533.03 | DO13C | Avg
48 | 48 | A012 | 0 | DO13C | StDev
48 | 48 | A012 | 0 | DO13C | %RSD
49 | 49 | A024 | 125956.948 | DO13C | 1
49 | 49 | A024 | 125956.948 | DO13C | Avg
49 | 49 | A024 | 0 | DO13C | StDev
49 | 49 | A024 | 0 | DO13C | %RSD
50 | 50 | A036 | 131525.858 | DO13C | 1
50 | 50 | A036 | 131525.858 | DO13C | Avg
50 | 50 | A036 | 0 | DO13C | StDev
50 | 50 | A036 | 0 | DO13C | %RSD
51 | 51 | A068 | 99468.415 | DO13C | 1
51 | 51 | A068 | 99468.415 | DO13C | Avg
51 | 51 | A068 | 0 | DO13C | StDev
51 | 51 | A068 | 0 | DO13C | %RSD
52 | 52 | A010 | 140105.222 | DO13C | 1
52 | 52 | A010 | 140105.222 | DO13C | Avg
52 | 52 | A010 | 0 | DO13C | StDev
52 | 52 | A010 | 0 | DO13C | %RSD
53 | 53 | A001 | 60862.226 | DO13C | 1
53 | 53 | A001 | 60862.226 | DO13C | Avg
53 | 53 | A001 | 0 | DO13C | StDev
53 | 53 | A001 | 0 | DO13C | %RSD
54 | 54 | A050 | 60717.569 | DO13C | 1
54 | 54 | A050 | 60717.569 | DO13C | Avg
54 | 54 | A050 | 0 | DO13C | StDev
54 | 54 | A050 | 0 | DO13C | %RSD
55 | 55 | A052 | 61505.39 | DO13C | 1
55 | 55 | A052 | 61505.39 | DO13C | Avg
55 | 55 | A052 | 0 | DO13C | StDev
55 | 55 | A052 | 0 | DO13C | %RSD
56 | 56 | A062 | 71738.334 | DO13C | 1
56 | 56 | A062 | 71738.334 | DO13C | Avg
56 | 56 | A062 | 0 | DO13C | StDev
56 | 56 | A062 | 0 | DO13C | %RSD
57 | 57 | LCS-Cane Sugar | 136872.976 | QC | 1
57 | 57 | LCS-Cane Sugar | 136872.976 | QC | Avg
57 | 57 | LCS-Cane Sugar | 0 | QC | StDev
57 | 57 | LCS-Cane Sugar | 0 | QC | %RSD
58 | 58 | DI Blank | 2185.702 | -- | 1
58 | 58 | DI Blank | 2185.702 | -- | Avg
58 | 58 | DI Blank | 0 | -- | StDev
58 | 58 | DI Blank | 0 | -- | %RSD
59 | 59 | A017 | 57402.967 | DO13C | 1
59 | 59 | A017 | 57402.967 | DO13C | Avg
59 | 59 | A017 | 0 | DO13C | StDev
59 | 59 | A017 | 0 | DO13C | %RSD
60 | 60 | A005 | 57846.264 | DO13C | 1
60 | 60 | A005 | 57846.264 | DO13C | Avg
60 | 60 | A005 | 0 | DO13C | StDev
60 | 60 | A005 | 0 | DO13C | %RSD
61 | 61 | A006 | 59787.447 | DO13C | 1
61 | 61 | A006 | 59787.447 | DO13C | Avg
61 | 61 | A006 | 0 | DO13C | StDev
61 | 61 | A006 | 0 | DO13C | %RSD
62 | 62 | A039 | 60555.789 | DO13C | 1
62 | 62 | A039 | 60555.789 | DO13C | Avg
62 | 62 | A039 | 0 | DO13C | StDev
62 | 62 | A039 | 0 | DO13C | %RSD
63 | 63 | A018 | 60858.951 | DO13C | 1
63 | 63 | A018 | 60858.951 | DO13C | Avg
63 | 63 | A018 | 0 | DO13C | StDev
63 | 63 | A018 | 0 | DO13C | %RSD
64 | 64 | LCS-Cane Sugar | 135217.638 | QC | 1
64 | 64 | LCS-Cane Sugar | 135217.638 | QC | Avg
64 | 64 | LCS-Cane Sugar | 0 | QC | StDev
64 | 64 | LCS-Cane Sugar | 0 | QC | %RSD
65 | 65 | DI Blank | 2103.593 | -- | 1
65 | 65 | DI Blank | 2103.593 | -- | Avg
65 | 65 | DI Blank | 0 | -- | StDev
65 | 65 | DI Blank | 0 | -- | %RSD
- | 66 | Clean Up | 1855.385 | -- | 1
- | 66 | Clean Up | 1855.385 | -- | Avg
- | 66 | Clean Up | 0 | -- | StDev
- | 66 | Clean Up | 0 | -- | %RSD
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0

## Working Data
Vial# | Spl# | Sample ID | Area(cts) | Comments | Concentration (mg/L -C)
- | 1 | Clean Up | 3686.844 | -- | 0.06 | a | -280.54
1 | 2 | DI Blank | 2784.492 | -- | 0.03 | b | 28315
2 | 3 | TOC CAL BLANK | 2280.316 | CAL | 0.01 | c | 1965.3
3 | 4 | TOC CAL#1 | 4998.702 | CAL | 0.11
4 | 5 | TOC CAL#2 | 15764.608 | CAL | 0.49
5 | 6 | TOC CAL#3 | 29628.09 | CAL | 0.99
6 | 7 | TOC CAL#4 | 136705.594 | CAL | 5.01
7 | 8 | TOC CAL#5 | 257017.502 | CAL | 10
8 | 9 | DI Blank | 1745.096 | -- | -0.01
9 | 10 | MDL | 10740.812 | QC | 0.31
11 | 11 | LCS-01 | 42461.332 | QC | 1.45
12 | 12 | LCS-02 | 192711.004 | QC | 7.26
13 | 13 | DI Blank | 1702.835 | -- | -0.01
14 | 14 | A034 | 56651.879 | DO13C | 1.97
15 | 15 | A046 | 60504.053 | DO13C | 2.11
16 | 16 | A021 | 57736.454 | DO13C | 2.01
17 | 17 | A045 | 59193.985 | DO13C | 2.06
18 | 18 | A008 | 118007.374 | DO13C | 4.28
19 | 19 | A069 | 82791.274 | DO13C | 2.94
20 | 20 | A019 | 57923.92 | DO13C | 2.02
21 | 21 | A031 | 57262.477 | DO13C | 1.99
22 | 22 | A071 | 73136.331 | DO13C | 2.58
23 | 23 | A009 | 58421.567 | DO13C | 2.03
24 | 24 | A072 | 66017.123 | DO13C | 2.32
25 | 25 | A070 | 167468.366 | DO13C | 6.23
26 | 26 | A022 | 56546.715 | DO13C | 1.97
27 | 27 | LCS-Cane Sugar | 136304.81 | QC | 4.99
28 | 28 | DI Blank | 2169.175 | -- | 0.01
29 | 29 | A007 | 61007.366 | DO13C | 2.13
30 | 30 | A032 | 143207.021 | DO13C | 5.26
31 | 31 | A067 | 73817.994 | DO13C | 2.6
32 | 32 | A055 | 112202.322 | DO13C | 4.06
33 | 33 | A057 | 61118.999 | DO13C | 2.13
34 | 34 | A043 | 59064.524 | DO13C | 2.06
35 | 35 | A060 | 70587.36 | DO13C | 2.48
36 | 36 | A059 | 58798.833 | DO13C | 2.05
37 | 37 | A020 | 56731.036 | DO13C | 1.97
38 | 38 | A056 | 57156.637 | DO13C | 1.99
39 | 39 | A058 | 57806.72 | DO13C | 2.01
40 | 40 | A048 | 142805.756 | DO13C | 5.25
41 | 41 | A011 | 142703.298 | DO13C | 5.24
42 | 42 | LCS-Cane Sugar | 135098.597 | QC | 4.94
43 | 43 | DI Blank | 2248.705 | -- | 0.01
44 | 44 | A044 | 154590.239 | DO13C | 5.71
45 | 45 | A035 | 138474.583 | DO13C | 5.08
46 | 46 | A033 | 164935.675 | DO13C | 6.13
47 | 47 | A047 | 150549.75 | DO13C | 5.55
48 | 48 | A012 | 141533.03 | DO13C | 5.2
49 | 49 | A024 | 125956.948 | DO13C | 4.59
50 | 50 | A036 | 131525.858 | DO13C | 4.8
51 | 51 | A068 | 99468.415 | DO13C | 3.57
52 | 52 | A010 | 140105.222 | DO13C | 5.14
53 | 53 | A001 | 60862.226 | DO13C | 2.12
54 | 54 | A050 | 60717.569 | DO13C | 2.12
55 | 55 | A052 | 61505.39 | DO13C | 2.15
56 | 56 | A062 | 71738.334 | DO13C | 2.53
57 | 57 | LCS-Cane Sugar | 136872.976 | QC | 5.01
58 | 58 | DI Blank | 2185.702 | -- | 0.01
59 | 59 | A017 | 57402.967 | DO13C | 2
60 | 60 | A005 | 57846.264 | DO13C | 2.01
61 | 61 | A006 | 59787.447 | DO13C | 2.09
62 | 62 | A039 | 60555.789 | DO13C | 2.11
63 | 63 | A018 | 60858.951 | DO13C | 2.12
64 | 64 | LCS-Cane Sugar | 135217.638 | QC | 4.95
65 | 65 | DI Blank | 2103.593 | -- | 0
- | 66 | Clean Up | 1855.385 | -- | 0

## Calibration
CALIBRATION DATA
Sample ID | Peak Area (cts) | Concentration (mg/L - C)
TOCcal BLANK | 2280.316 | 0
TOCcal #1 | 4998.702 | 0.1
TOCcal #2 | 15764.608 | 0.5
TOCcal #3 | 29628.09 | 1
TOCcal #4 | 136705.594 | 5
TOCcal #5 | 257017.502 | 10
TOCcal #6 |  | 20
| 0-5ppb | 0-10ppb
Slope =
Intercept =
-280.54
28315
1965.3

## QC
REPLICATES | [5 empty] | Chk-DL
|  |  | DOC (mg/L - C) |  |  |  |  | DOC (mg/L - C)
QC Type | # | Sample ID | Source | Rep | Precision | QC Type | # | Known | Measured | Error
Rep | 1 |  |  |  | #DIV/0! | MDL | 1 | 0.3 | 0.31 | 0.01
Rep | 2 |  |  |  | #DIV/0! | MDL | 2 |  |  | -0.3
Rep | 3 |  |  |  | #DIV/0!
Rep | 4 |  |  |  | #DIV/0! | Chk-01
Rep | 5 |  |  |  | #DIV/0! |  |  | DOC (mg/L - C)
Rep | 6 |  |  |  | #DIV/0! | QC Type | # | Known | Measured | Recovery
Rep | 7 |  |  |  | #DIV/0! | LCS-01 | 1 | 1.5 | 1.45 | -0.05
Rep | 8 |  |  |  | #DIV/0! | LCS-01 | 2 |  |  | -1.5
Rep | 9 |  |  |  | #DIV/0! | LCS-01 | 3 |  |  | -1.5
Rep | 10 |  |  |  | #DIV/0! | LCS-01 | 4 |  |  | -1.5
[6 empty] | LCS-01 | 5 |  |  | -1.5
[6 empty] | LCS-01 | 6 |  |  | -1.5
[6 empty] | LCS-01 | 7 |  |  | -1.5
[6 empty] | LCS-01 | 8 |  |  | -1.5
[6 empty] | LCS-01 | 9 |  |  | -1.5
[6 empty] | LCS-01 | 10 |  |  | -1.5
Chk-02
TOC (mg/L - C)
[6 empty] | QC Type | # | Known | Measured | Recovery
[6 empty] | LCS-02 | 1 | 7.5 | 7.26 | -3.2%
[6 empty] | LCS-02 | 2 |  |  | -100.0%
[6 empty] | LCS-02 | 3 |  |  | -100.0%
[6 empty] | LCS-02 | 4 |  |  | -100.0%
[6 empty] | LCS-02 | 5 |  |  | -100.0%
[6 empty] | LCS-02 | 6 |  |  | -100.0%
[6 empty] | LCS-02 | 7 |  |  | -100.0%
[6 empty] | LCS-02 | 8 |  |  | -100.0%
[6 empty] | LCS-02 | 9 |  |  | -100.0%
[6 empty] | LCS-02 | 10 |  |  | -100.0%

## Data Report
* Only final sample data appear in this worksheet
Procedure: |  | RAW DATA FILE NAME: | Hall_201204
1. Enter user and run information into blue box |  | DATE: | 2020-12-04
2. Paste sample IDs into column A |  | ANALYST: | A. Baumann
3. Paste calculated concentrations into column B
Dissolved Organic Carbon
Sample ID
(mg/L - C)
A001 | 2.12
A005 | 2.01
A006 | 2.09
A007 | 2.13
A008 | 4.28
A009 | 2.03
A010 | 5.14
A011 | 5.24
A012 | 5.2
A017 | 2
A018 | 2.12
A019 | 2.02
A020 | 1.97
A021 | 2.01
A022 | 1.97
A024 | 4.59
A031 | 1.99
A032 | 5.26
A033 | 6.13
A034 | 1.97
A035 | 5.08
A036 | 4.8
A039 | 2.11
A043 | 2.06
A044 | 5.71
A045 | 2.06
A046 | 2.11
A047 | 5.55
A048 | 5.25
A050 | 2.12
A052 | 2.15
A055 | 4.06
A056 | 1.99
A057 | 2.13
A058 | 2.01
A059 | 2.05
A060 | 2.48
A062 | 2.53
A067 | 2.6
A068 | 3.57
A069 | 2.94
A070 | 6.23
A071 | 2.58
A072 | 2.32