## SM Parser
Employee | A. Baumann
Test Date | 2021-01-19
QCBatchID
SampleNumber | DOC
RMV

## Raw Data
Date | Time | Vial# | Spl# | #Reps | Sample ID | Type | Mode | Area(cts) | Mass(ugC) | Conc (PPM as mg/L C) | Method | InstrumentID | UserID | Comments
2021-01-19 | 4:08 | - | 1 | 1 | Clean Up | CleanUp | TC | 3435.107 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc
2021-01-19 | 4:08 | - | 1 | Avg | Clean Up | CleanUp | TC | 3435.107 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc
2021-01-19 | 4:08 | - | 1 | StDev | Clean Up | CleanUp | TC | 0 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc
2021-01-19 | 4:08 | - | 1 | %RSD | Clean Up | CleanUp | TC | 0 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc
2021-01-19 | 4:31 | 1 | 2 | 1 | DI Blank | Sample | TOC | 2741.154 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 4:31 | 1 | 2 | Avg | DI Blank | Sample | TOC | 2741.154 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 4:31 | 1 | 2 | StDev | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 4:31 | 1 | 2 | %RSD | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 4:50 | 2 | 3 | 1 | TOC CAL BLANK | Sample | TOC | 2934.634 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 4:50 | 2 | 3 | Avg | TOC CAL BLANK | Sample | TOC | 2934.634 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 4:50 | 2 | 3 | StDev | TOC CAL BLANK | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 4:50 | 2 | 3 | %RSD | TOC CAL BLANK | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 5:08 | 3 | 4 | 1 | TOC CAL#1 | Sample | TOC | 6009.457 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 5:08 | 3 | 4 | Avg | TOC CAL#1 | Sample | TOC | 6009.457 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 5:08 | 3 | 4 | StDev | TOC CAL#1 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 5:08 | 3 | 4 | %RSD | TOC CAL#1 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 5:28 | 4 | 5 | 1 | TOC CAL#2 | Sample | TOC | 17287.45 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 5:28 | 4 | 5 | Avg | TOC CAL#2 | Sample | TOC | 17287.45 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 5:28 | 4 | 5 | StDev | TOC CAL#2 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 5:28 | 4 | 5 | %RSD | TOC CAL#2 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 5:51 | 5 | 6 | 1 | TOC CAL#3 | Sample | TOC | 31615.536 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 5:51 | 5 | 6 | Avg | TOC CAL#3 | Sample | TOC | 31615.536 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 5:51 | 5 | 6 | StDev | TOC CAL#3 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 5:51 | 5 | 6 | %RSD | TOC CAL#3 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 6:15 | 6 | 7 | 1 | TOC CAL#4 | Sample | TOC | 149467.481 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 6:15 | 6 | 7 | Avg | TOC CAL#4 | Sample | TOC | 149467.481 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 6:15 | 6 | 7 | StDev | TOC CAL#4 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 6:15 | 6 | 7 | %RSD | TOC CAL#4 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 6:42 | 7 | 8 | 1 | TOC CAL#5 | Sample | TOC | 294391.316 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 6:42 | 7 | 8 | Avg | TOC CAL#5 | Sample | TOC | 294391.316 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 6:42 | 7 | 8 | StDev | TOC CAL#5 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 6:42 | 7 | 8 | %RSD | TOC CAL#5 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 7:10 | 8 | 9 | 1 | DI Blank | Sample | TOC | 2340.418 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 7:10 | 8 | 9 | Avg | DI Blank | Sample | TOC | 2340.418 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 7:10 | 8 | 9 | StDev | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 7:10 | 8 | 9 | %RSD | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 7:27 | 9 | 10 | 1 | MDL | Sample | TOC | 11694.432 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 7:27 | 9 | 10 | Avg | MDL | Sample | TOC | 11694.432 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 7:27 | 9 | 10 | StDev | MDL | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 7:27 | 9 | 10 | %RSD | MDL | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 7:50 | 10 | 11 | 1 | RMV | Sample | TOC | 37794.79 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 7:50 | 10 | 11 | Avg | RMV | Sample | TOC | 37794.79 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 7:50 | 10 | 11 | StDev | RMV | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 7:50 | 10 | 11 | %RSD | RMV | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 8:14 | 11 | 12 | 1 | LCS-01 | Sample | TOC | 43876.213 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 8:14 | 11 | 12 | Avg | LCS-01 | Sample | TOC | 43876.213 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 8:14 | 11 | 12 | StDev | LCS-01 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 8:14 | 11 | 12 | %RSD | LCS-01 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 8:38 | 12 | 13 | 1 | LCS-02 | Sample | TOC | 220284.531 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 8:38 | 12 | 13 | Avg | LCS-02 | Sample | TOC | 220284.531 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 8:38 | 12 | 13 | StDev | LCS-02 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 8:38 | 12 | 13 | %RSD | LCS-02 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 9:06 | 13 | 14 | 1 | DI Blank | Sample | TOC | 2320.369 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 9:06 | 13 | 14 | Avg | DI Blank | Sample | TOC | 2320.369 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 9:06 | 13 | 14 | StDev | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 9:06 | 13 | 14 | %RSD | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 9:23 | 14 | 15 | 1 | WW015 | Sample | TOC | 18455.81 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 9:23 | 14 | 15 | Avg | WW015 | Sample | TOC | 18455.81 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 9:23 | 14 | 15 | StDev | WW015 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 9:23 | 14 | 15 | %RSD | WW015 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 9:46 | 15 | 16 | 1 | A023 | Sample | TOC | 147714.331 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 9:46 | 15 | 16 | Avg | A023 | Sample | TOC | 147714.331 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 9:46 | 15 | 16 | StDev | A023 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 9:46 | 15 | 16 | %RSD | A023 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 10:13 | 16 | 17 | 1 | WW011 | Sample | TOC | 20695.162 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 10:13 | 16 | 17 | Avg | WW011 | Sample | TOC | 20695.162 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 10:13 | 16 | 17 | StDev | WW011 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 10:13 | 16 | 17 | %RSD | WW011 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 10:36 | 17 | 18 | 1 | WW012A | Sample | TOC | 19462.077 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 10:36 | 17 | 18 | Avg | WW012A | Sample | TOC | 19462.077 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 10:36 | 17 | 18 | StDev | WW012A | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 10:36 | 17 | 18 | %RSD | WW012A | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 11:00 | 18 | 19 | 1 | WW025 | Sample | TOC | 17878.056 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 11:00 | 18 | 19 | Avg | WW025 | Sample | TOC | 17878.056 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 11:00 | 18 | 19 | StDev | WW025 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 11:00 | 18 | 19 | %RSD | WW025 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 11:23 | 19 | 20 | 1 | WW014 | Sample | TOC | 22394.766 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 11:23 | 19 | 20 | Avg | WW014 | Sample | TOC | 22394.766 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 11:23 | 19 | 20 | StDev | WW014 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 11:23 | 19 | 20 | %RSD | WW014 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 11:46 | 20 | 21 | 1 | WW003 | Sample | TOC | 16253.045 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 11:46 | 20 | 21 | Avg | WW003 | Sample | TOC | 16253.045 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 11:46 | 20 | 21 | StDev | WW003 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 11:46 | 20 | 21 | %RSD | WW003 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 12:09 | 21 | 22 | 1 | WW016 | Sample | TOC | 17677.988 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 12:09 | 21 | 22 | Avg | WW016 | Sample | TOC | 17677.988 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 12:09 | 21 | 22 | StDev | WW016 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 12:09 | 21 | 22 | %RSD | WW016 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 12:32 | 22 | 23 | 1 | WW026 | Sample | TOC | 16389.556 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 12:32 | 22 | 23 | Avg | WW026 | Sample | TOC | 16389.556 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 12:32 | 22 | 23 | StDev | WW026 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 12:32 | 22 | 23 | %RSD | WW026 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 12:55 | 23 | 24 | 1 | WW038 | Sample | TOC | 20474.086 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 12:55 | 23 | 24 | Avg | WW038 | Sample | TOC | 20474.086 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 12:55 | 23 | 24 | StDev | WW038 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 12:55 | 23 | 24 | %RSD | WW038 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 13:18 | 24 | 25 | 1 | WW039 | Sample | TOC | 17511.846 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 13:18 | 24 | 25 | Avg | WW039 | Sample | TOC | 17511.846 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 13:18 | 24 | 25 | StDev | WW039 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 13:18 | 24 | 25 | %RSD | WW039 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 13:41 | 25 | 26 | 1 | WW002 | Sample | TOC | 20012.688 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 13:41 | 25 | 26 | Avg | WW002 | Sample | TOC | 20012.688 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 13:41 | 25 | 26 | StDev | WW002 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 13:41 | 25 | 26 | %RSD | WW002 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 14:04 | 26 | 27 | 1 | WW040 | Sample | TOC | 18902.507 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 14:04 | 26 | 27 | Avg | WW040 | Sample | TOC | 18902.507 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 14:04 | 26 | 27 | StDev | WW040 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 14:04 | 26 | 27 | %RSD | WW040 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 14:27 | 27 | 28 | 1 | LCS-Cane Sugar | Sample | TOC | 148850.4 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 14:27 | 27 | 28 | Avg | LCS-Cane Sugar | Sample | TOC | 148850.4 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 14:27 | 27 | 28 | StDev | LCS-Cane Sugar | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 14:27 | 27 | 28 | %RSD | LCS-Cane Sugar | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 14:54 | 28 | 29 | 1 | DI Blank | Sample | TOC | 2454.329 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 14:54 | 28 | 29 | Avg | DI Blank | Sample | TOC | 2454.329 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 14:54 | 28 | 29 | StDev | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 14:54 | 28 | 29 | %RSD | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 15:11 | 29 | 30 | 1 | WW006 | Sample | TOC | 22498.274 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 15:11 | 29 | 30 | Avg | WW006 | Sample | TOC | 22498.274 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 15:11 | 29 | 30 | StDev | WW006 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 15:11 | 29 | 30 | %RSD | WW006 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 15:35 | 30 | 31 | 1 | WW031 | Sample | TOC | 15101.349 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 15:35 | 30 | 31 | Avg | WW031 | Sample | TOC | 15101.349 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 15:35 | 30 | 31 | StDev | WW031 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 15:35 | 30 | 31 | %RSD | WW031 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 15:57 | 31 | 32 | 1 | WW005 | Sample | TOC | 19562.598 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 15:57 | 31 | 32 | Avg | WW005 | Sample | TOC | 19562.598 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 15:57 | 31 | 32 | StDev | WW005 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 15:57 | 31 | 32 | %RSD | WW005 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 16:21 | 32 | 33 | 1 | WW037 | Sample | TOC | 14280.147 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 16:21 | 32 | 33 | Avg | WW037 | Sample | TOC | 14280.147 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 16:21 | 32 | 33 | StDev | WW037 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 16:21 | 32 | 33 | %RSD | WW037 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 16:44 | 33 | 34 | 1 | WW001 | Sample | TOC | 17303.428 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 16:44 | 33 | 34 | Avg | WW001 | Sample | TOC | 17303.428 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 16:44 | 33 | 34 | StDev | WW001 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 16:44 | 33 | 34 | %RSD | WW001 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 17:06 | 34 | 35 | 1 | WW036 | Sample | TOC | 15869.891 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 17:06 | 34 | 35 | Avg | WW036 | Sample | TOC | 15869.891 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 17:06 | 34 | 35 | StDev | WW036 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 17:06 | 34 | 35 | %RSD | WW036 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 17:29 | 35 | 36 | 1 | WW010 | Sample | TOC | 19320.81 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 17:29 | 35 | 36 | Avg | WW010 | Sample | TOC | 19320.81 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 17:29 | 35 | 36 | StDev | WW010 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 17:29 | 35 | 36 | %RSD | WW010 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 17:52 | 36 | 37 | 1 | WW027 | Sample | TOC | 16043.014 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 17:52 | 36 | 37 | Avg | WW027 | Sample | TOC | 16043.014 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 17:52 | 36 | 37 | StDev | WW027 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 17:52 | 36 | 37 | %RSD | WW027 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 18:15 | 37 | 38 | 1 | WW007 | Sample | TOC | 21212.523 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 18:15 | 37 | 38 | Avg | WW007 | Sample | TOC | 21212.523 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 18:15 | 37 | 38 | StDev | WW007 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 18:15 | 37 | 38 | %RSD | WW007 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 18:38 | 38 | 39 | 1 | WW023 | Sample | TOC | 18352.691 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 18:38 | 38 | 39 | Avg | WW023 | Sample | TOC | 18352.691 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 18:38 | 38 | 39 | StDev | WW023 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 18:38 | 38 | 39 | %RSD | WW023 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 19:01 | 39 | 40 | 1 | WW018 | Sample | TOC | 17580.738 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 19:01 | 39 | 40 | Avg | WW018 | Sample | TOC | 17580.738 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 19:01 | 39 | 40 | StDev | WW018 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 19:01 | 39 | 40 | %RSD | WW018 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 19:24 | 40 | 41 | 1 | WW004 | Sample | TOC | 18934.826 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 19:24 | 40 | 41 | Avg | WW004 | Sample | TOC | 18934.826 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 19:24 | 40 | 41 | StDev | WW004 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 19:24 | 40 | 41 | %RSD | WW004 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 19:48 | 41 | 42 | 1 | WW021 | Sample | TOC | 17943.876 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 19:48 | 41 | 42 | Avg | WW021 | Sample | TOC | 17943.876 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 19:48 | 41 | 42 | StDev | WW021 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 19:48 | 41 | 42 | %RSD | WW021 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 20:10 | 42 | 43 | 1 | LCS-Cane Sugar | Sample | TOC | 148851.416 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 20:10 | 42 | 43 | Avg | LCS-Cane Sugar | Sample | TOC | 148851.416 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 20:10 | 42 | 43 | StDev | LCS-Cane Sugar | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 20:10 | 42 | 43 | %RSD | LCS-Cane Sugar | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 20:37 | 43 | 44 | 1 | DI Blank | Sample | TOC | 2618.612 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 20:37 | 43 | 44 | Avg | DI Blank | Sample | TOC | 2618.612 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 20:37 | 43 | 44 | StDev | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 20:37 | 43 | 44 | %RSD | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 20:54 | 44 | 45 | 1 | WW013 | Sample | TOC | 57088.275 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 20:54 | 44 | 45 | Avg | WW013 | Sample | TOC | 57088.275 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 20:54 | 44 | 45 | StDev | WW013 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 20:54 | 44 | 45 | %RSD | WW013 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 21:19 | 45 | 46 | 1 | WW012B | Sample | TOC | 28579.813 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 21:19 | 45 | 46 | Avg | WW012B | Sample | TOC | 28579.813 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 21:19 | 45 | 46 | StDev | WW012B | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 21:19 | 45 | 46 | %RSD | WW012B | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 21:43 | 46 | 47 | 1 | SP001 (1:5) | Sample | TOC | 218495.91 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 21:43 | 46 | 47 | Avg | SP001 (1:5) | Sample | TOC | 218495.91 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 21:43 | 46 | 47 | StDev | SP001 (1:5) | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 21:43 | 46 | 47 | %RSD | SP001 (1:5) | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 22:11 | 47 | 48 | 1 | SP003 (1:5) | Sample | TOC | 193221.466 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 22:11 | 47 | 48 | Avg | SP003 (1:5) | Sample | TOC | 193221.466 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 22:11 | 47 | 48 | StDev | SP003 (1:5) | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 22:11 | 47 | 48 | %RSD | SP003 (1:5) | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 22:38 | 48 | 49 | 1 | LCS-Cane Sugar | Sample | TOC | 143455.396 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 22:38 | 48 | 49 | Avg | LCS-Cane Sugar | Sample | TOC | 143455.396 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 22:38 | 48 | 49 | StDev | LCS-Cane Sugar | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 22:38 | 48 | 49 | %RSD | LCS-Cane Sugar | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 23:05 | 49 | 50 | 1 | DI Blank | Sample | TOC | 3224.327 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 23:05 | 49 | 50 | Avg | DI Blank | Sample | TOC | 3224.327 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 23:05 | 49 | 50 | StDev | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 23:05 | 49 | 50 | %RSD | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-01-19 | 23:18 | - | 51 | 1 | Clean Up | CleanUp | TC | 2627.477 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc
2021-01-19 | 23:18 | - | 51 | Avg | Clean Up | CleanUp | TC | 2627.477 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc
2021-01-19 | 23:18 | - | 51 | StDev | Clean Up | CleanUp | TC | 0 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc
2021-01-19 | 23:18 | - | 51 | %RSD | Clean Up | CleanUp | TC | 0 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc

## Sorted Data
Vial# | Spl# | Sample ID | Area(cts) | Comments | #Reps | *Filter data by "Reps" for "Avg" only
- | 1 | Clean Up | 3435.107 | 0 | 1 | *Sort data by unchecking "DOC" in "Comments" field
- | 1 | Clean Up | 3435.107 | 0 | Avg
- | 1 | Clean Up | 0 | 0 | StDev
- | 1 | Clean Up | 0 | 0 | %RSD
1 | 2 | DI Blank | 2741.154 | 0 | 1
1 | 2 | DI Blank | 2741.154 | 0 | Avg
1 | 2 | DI Blank | 0 | 0 | StDev
1 | 2 | DI Blank | 0 | 0 | %RSD
2 | 3 | TOC CAL BLANK | 2934.634 | 0 | 1
2 | 3 | TOC CAL BLANK | 2934.634 | 0 | Avg
2 | 3 | TOC CAL BLANK | 0 | 0 | StDev
2 | 3 | TOC CAL BLANK | 0 | 0 | %RSD
3 | 4 | TOC CAL#1 | 6009.457 | 0 | 1
3 | 4 | TOC CAL#1 | 6009.457 | 0 | Avg
3 | 4 | TOC CAL#1 | 0 | 0 | StDev
3 | 4 | TOC CAL#1 | 0 | 0 | %RSD
4 | 5 | TOC CAL#2 | 17287.45 | 0 | 1
4 | 5 | TOC CAL#2 | 17287.45 | 0 | Avg
4 | 5 | TOC CAL#2 | 0 | 0 | StDev
4 | 5 | TOC CAL#2 | 0 | 0 | %RSD
5 | 6 | TOC CAL#3 | 31615.536 | 0 | 1
5 | 6 | TOC CAL#3 | 31615.536 | 0 | Avg
5 | 6 | TOC CAL#3 | 0 | 0 | StDev
5 | 6 | TOC CAL#3 | 0 | 0 | %RSD
6 | 7 | TOC CAL#4 | 149467.481 | 0 | 1
6 | 7 | TOC CAL#4 | 149467.481 | 0 | Avg
6 | 7 | TOC CAL#4 | 0 | 0 | StDev
6 | 7 | TOC CAL#4 | 0 | 0 | %RSD
7 | 8 | TOC CAL#5 | 294391.316 | 0 | 1
7 | 8 | TOC CAL#5 | 294391.316 | 0 | Avg
7 | 8 | TOC CAL#5 | 0 | 0 | StDev
7 | 8 | TOC CAL#5 | 0 | 0 | %RSD
8 | 9 | DI Blank | 2340.418 | 0 | 1
8 | 9 | DI Blank | 2340.418 | 0 | Avg
8 | 9 | DI Blank | 0 | 0 | StDev
8 | 9 | DI Blank | 0 | 0 | %RSD
9 | 10 | MDL | 11694.432 | 0 | 1
9 | 10 | MDL | 11694.432 | 0 | Avg
9 | 10 | MDL | 0 | 0 | StDev
9 | 10 | MDL | 0 | 0 | %RSD
10 | 11 | RMV | 37794.79 | 0 | 1
10 | 11 | RMV | 37794.79 | 0 | Avg
10 | 11 | RMV | 0 | 0 | StDev
10 | 11 | RMV | 0 | 0 | %RSD
11 | 12 | LCS-01 | 43876.213 | 0 | 1
11 | 12 | LCS-01 | 43876.213 | 0 | Avg
11 | 12 | LCS-01 | 0 | 0 | StDev
11 | 12 | LCS-01 | 0 | 0 | %RSD
12 | 13 | LCS-02 | 220284.531 | 0 | 1
12 | 13 | LCS-02 | 220284.531 | 0 | Avg
12 | 13 | LCS-02 | 0 | 0 | StDev
12 | 13 | LCS-02 | 0 | 0 | %RSD
13 | 14 | DI Blank | 2320.369 | 0 | 1
13 | 14 | DI Blank | 2320.369 | 0 | Avg
13 | 14 | DI Blank | 0 | 0 | StDev
13 | 14 | DI Blank | 0 | 0 | %RSD
14 | 15 | WW015 | 18455.81 | 0 | 1
14 | 15 | WW015 | 18455.81 | 0 | Avg
14 | 15 | WW015 | 0 | 0 | StDev
14 | 15 | WW015 | 0 | 0 | %RSD
15 | 16 | A023 | 147714.331 | 0 | 1
15 | 16 | A023 | 147714.331 | 0 | Avg
15 | 16 | A023 | 0 | 0 | StDev
15 | 16 | A023 | 0 | 0 | %RSD
16 | 17 | WW011 | 20695.162 | 0 | 1
16 | 17 | WW011 | 20695.162 | 0 | Avg
16 | 17 | WW011 | 0 | 0 | StDev
16 | 17 | WW011 | 0 | 0 | %RSD
17 | 18 | WW012A | 19462.077 | 0 | 1
17 | 18 | WW012A | 19462.077 | 0 | Avg
17 | 18 | WW012A | 0 | 0 | StDev
17 | 18 | WW012A | 0 | 0 | %RSD
18 | 19 | WW025 | 17878.056 | 0 | 1
18 | 19 | WW025 | 17878.056 | 0 | Avg
18 | 19 | WW025 | 0 | 0 | StDev
18 | 19 | WW025 | 0 | 0 | %RSD
19 | 20 | WW014 | 22394.766 | 0 | 1
19 | 20 | WW014 | 22394.766 | 0 | Avg
19 | 20 | WW014 | 0 | 0 | StDev
19 | 20 | WW014 | 0 | 0 | %RSD
20 | 21 | WW003 | 16253.045 | 0 | 1
20 | 21 | WW003 | 16253.045 | 0 | Avg
20 | 21 | WW003 | 0 | 0 | StDev
20 | 21 | WW003 | 0 | 0 | %RSD
21 | 22 | WW016 | 17677.988 | 0 | 1
21 | 22 | WW016 | 17677.988 | 0 | Avg
21 | 22 | WW016 | 0 | 0 | StDev
21 | 22 | WW016 | 0 | 0 | %RSD
22 | 23 | WW026 | 16389.556 | 0 | 1
22 | 23 | WW026 | 16389.556 | 0 | Avg
22 | 23 | WW026 | 0 | 0 | StDev
22 | 23 | WW026 | 0 | 0 | %RSD
23 | 24 | WW038 | 20474.086 | 0 | 1
23 | 24 | WW038 | 20474.086 | 0 | Avg
23 | 24 | WW038 | 0 | 0 | StDev
23 | 24 | WW038 | 0 | 0 | %RSD
24 | 25 | WW039 | 17511.846 | 0 | 1
24 | 25 | WW039 | 17511.846 | 0 | Avg
24 | 25 | WW039 | 0 | 0 | StDev
24 | 25 | WW039 | 0 | 0 | %RSD
25 | 26 | WW002 | 20012.688 | 0 | 1
25 | 26 | WW002 | 20012.688 | 0 | Avg
25 | 26 | WW002 | 0 | 0 | StDev
25 | 26 | WW002 | 0 | 0 | %RSD
26 | 27 | WW040 | 18902.507 | 0 | 1
26 | 27 | WW040 | 18902.507 | 0 | Avg
26 | 27 | WW040 | 0 | 0 | StDev
26 | 27 | WW040 | 0 | 0 | %RSD
27 | 28 | LCS-Cane Sugar | 148850.4 | 0 | 1
27 | 28 | LCS-Cane Sugar | 148850.4 | 0 | Avg
27 | 28 | LCS-Cane Sugar | 0 | 0 | StDev
27 | 28 | LCS-Cane Sugar | 0 | 0 | %RSD
28 | 29 | DI Blank | 2454.329 | 0 | 1
28 | 29 | DI Blank | 2454.329 | 0 | Avg
28 | 29 | DI Blank | 0 | 0 | StDev
28 | 29 | DI Blank | 0 | 0 | %RSD
29 | 30 | WW006 | 22498.274 | 0 | 1
29 | 30 | WW006 | 22498.274 | 0 | Avg
29 | 30 | WW006 | 0 | 0 | StDev
29 | 30 | WW006 | 0 | 0 | %RSD
30 | 31 | WW031 | 15101.349 | 0 | 1
30 | 31 | WW031 | 15101.349 | 0 | Avg
30 | 31 | WW031 | 0 | 0 | StDev
30 | 31 | WW031 | 0 | 0 | %RSD
31 | 32 | WW005 | 19562.598 | 0 | 1
31 | 32 | WW005 | 19562.598 | 0 | Avg
31 | 32 | WW005 | 0 | 0 | StDev
31 | 32 | WW005 | 0 | 0 | %RSD
32 | 33 | WW037 | 14280.147 | 0 | 1
32 | 33 | WW037 | 14280.147 | 0 | Avg
32 | 33 | WW037 | 0 | 0 | StDev
32 | 33 | WW037 | 0 | 0 | %RSD
33 | 34 | WW001 | 17303.428 | 0 | 1
33 | 34 | WW001 | 17303.428 | 0 | Avg
33 | 34 | WW001 | 0 | 0 | StDev
33 | 34 | WW001 | 0 | 0 | %RSD
34 | 35 | WW036 | 15869.891 | 0 | 1
34 | 35 | WW036 | 15869.891 | 0 | Avg
34 | 35 | WW036 | 0 | 0 | StDev
34 | 35 | WW036 | 0 | 0 | %RSD
35 | 36 | WW010 | 19320.81 | 0 | 1
35 | 36 | WW010 | 19320.81 | 0 | Avg
35 | 36 | WW010 | 0 | 0 | StDev
35 | 36 | WW010 | 0 | 0 | %RSD
36 | 37 | WW027 | 16043.014 | 0 | 1
36 | 37 | WW027 | 16043.014 | 0 | Avg
36 | 37 | WW027 | 0 | 0 | StDev
36 | 37 | WW027 | 0 | 0 | %RSD
37 | 38 | WW007 | 21212.523 | 0 | 1
37 | 38 | WW007 | 21212.523 | 0 | Avg
37 | 38 | WW007 | 0 | 0 | StDev
37 | 38 | WW007 | 0 | 0 | %RSD
38 | 39 | WW023 | 18352.691 | 0 | 1
38 | 39 | WW023 | 18352.691 | 0 | Avg
38 | 39 | WW023 | 0 | 0 | StDev
38 | 39 | WW023 | 0 | 0 | %RSD
39 | 40 | WW018 | 17580.738 | 0 | 1
39 | 40 | WW018 | 17580.738 | 0 | Avg
39 | 40 | WW018 | 0 | 0 | StDev
39 | 40 | WW018 | 0 | 0 | %RSD
40 | 41 | WW004 | 18934.826 | 0 | 1
40 | 41 | WW004 | 18934.826 | 0 | Avg
40 | 41 | WW004 | 0 | 0 | StDev
40 | 41 | WW004 | 0 | 0 | %RSD
41 | 42 | WW021 | 17943.876 | 0 | 1
41 | 42 | WW021 | 17943.876 | 0 | Avg
41 | 42 | WW021 | 0 | 0 | StDev
41 | 42 | WW021 | 0 | 0 | %RSD
42 | 43 | LCS-Cane Sugar | 148851.416 | 0 | 1
42 | 43 | LCS-Cane Sugar | 148851.416 | 0 | Avg
42 | 43 | LCS-Cane Sugar | 0 | 0 | StDev
42 | 43 | LCS-Cane Sugar | 0 | 0 | %RSD
43 | 44 | DI Blank | 2618.612 | 0 | 1
43 | 44 | DI Blank | 2618.612 | 0 | Avg
43 | 44 | DI Blank | 0 | 0 | StDev
43 | 44 | DI Blank | 0 | 0 | %RSD
44 | 45 | WW013 | 57088.275 | 0 | 1
44 | 45 | WW013 | 57088.275 | 0 | Avg
44 | 45 | WW013 | 0 | 0 | StDev
44 | 45 | WW013 | 0 | 0 | %RSD
45 | 46 | WW012B | 28579.813 | 0 | 1
45 | 46 | WW012B | 28579.813 | 0 | Avg
45 | 46 | WW012B | 0 | 0 | StDev
45 | 46 | WW012B | 0 | 0 | %RSD
46 | 47 | SP001 (1:5) | 218495.91 | 0 | 1
46 | 47 | SP001 (1:5) | 218495.91 | 0 | Avg
46 | 47 | SP001 (1:5) | 0 | 0 | StDev
46 | 47 | SP001 (1:5) | 0 | 0 | %RSD
47 | 48 | SP003 (1:5) | 193221.466 | 0 | 1
47 | 48 | SP003 (1:5) | 193221.466 | 0 | Avg
47 | 48 | SP003 (1:5) | 0 | 0 | StDev
47 | 48 | SP003 (1:5) | 0 | 0 | %RSD
48 | 49 | LCS-Cane Sugar | 143455.396 | 0 | 1
48 | 49 | LCS-Cane Sugar | 143455.396 | 0 | Avg
48 | 49 | LCS-Cane Sugar | 0 | 0 | StDev
48 | 49 | LCS-Cane Sugar | 0 | 0 | %RSD
49 | 50 | DI Blank | 3224.327 | 0 | 1
49 | 50 | DI Blank | 3224.327 | 0 | Avg
49 | 50 | DI Blank | 0 | 0 | StDev
49 | 50 | DI Blank | 0 | 0 | %RSD
- | 51 | Clean Up | 2627.477 | 0 | 1
- | 51 | Clean Up | 2627.477 | 0 | Avg
- | 51 | Clean Up | 0 | 0 | StDev
- | 51 | Clean Up | 0 | 0 | %RSD
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0

## Working Data
Vial# | Spl# | Sample ID | Area(cts) | Comments | Concentration (mg/L -C)
- | 1 | Clean Up | 3435.107 | 0 | 0.02 | a | -26.883
1 | 2 | DI Blank | 2741.154 | 0 | 0 | b | 29439
2 | 3 | TOC CAL BLANK | 2934.634 | 0 | 0.01 | c | 2735.2
3 | 4 | TOC CAL#1 | 6009.457 | 0 | 0.11
4 | 5 | TOC CAL#2 | 17287.45 | 0 | 0.49
5 | 6 | TOC CAL#3 | 31615.536 | 0 | 0.98
6 | 7 | TOC CAL#4 | 149467.481 | 0 | 5.01
7 | 8 | TOC CAL#5 | 294391.316 | 0 | 10
8 | 9 | DI Blank | 2340.418 | 0 | -0.01
9 | 10 | MDL | 11694.432 | 0 | 0.3
10 | 11 | RMV | 37794.79 | 0 | 1.19
11 | 12 | LCS-01 | 43876.213 | 0 | 1.4
12 | 13 | LCS-02 | 220284.531 | 0 | 7.44
13 | 14 | DI Blank | 2320.369 | 0 | -0.01
14 | 15 | WW015 | 18455.81 | 0 | 0.53
15 | 16 | A023 | 147714.331 | 0 | 4.95
16 | 17 | WW011 | 20695.162 | 0 | 0.61
17 | 18 | WW012A | 19462.077 | 0 | 0.57
18 | 19 | WW025 | 17878.056 | 0 | 0.51
19 | 20 | WW014 | 22394.766 | 0 | 0.67
20 | 21 | WW003 | 16253.045 | 0 | 0.46
21 | 22 | WW016 | 17677.988 | 0 | 0.51
22 | 23 | WW026 | 16389.556 | 0 | 0.46
23 | 24 | WW038 | 20474.086 | 0 | 0.6
24 | 25 | WW039 | 17511.846 | 0 | 0.5
25 | 26 | WW002 | 20012.688 | 0 | 0.59
26 | 27 | WW040 | 18902.507 | 0 | 0.55
27 | 28 | LCS-Cane Sugar | 148850.4 | 0 | 4.99
28 | 29 | DI Blank | 2454.329 | 0 | -0.01
29 | 30 | WW006 | 22498.274 | 0 | 0.67
30 | 31 | WW031 | 15101.349 | 0 | 0.42
31 | 32 | WW005 | 19562.598 | 0 | 0.57
32 | 33 | WW037 | 14280.147 | 0 | 0.39
33 | 34 | WW001 | 17303.428 | 0 | 0.5
34 | 35 | WW036 | 15869.891 | 0 | 0.45
35 | 36 | WW010 | 19320.81 | 0 | 0.56
36 | 37 | WW027 | 16043.014 | 0 | 0.45
37 | 38 | WW007 | 21212.523 | 0 | 0.63
38 | 39 | WW023 | 18352.691 | 0 | 0.53
39 | 40 | WW018 | 17580.738 | 0 | 0.5
40 | 41 | WW004 | 18934.826 | 0 | 0.55
41 | 42 | WW021 | 17943.876 | 0 | 0.52
42 | 43 | LCS-Cane Sugar | 148851.416 | 0 | 4.99
43 | 44 | DI Blank | 2618.612 | 0 | 0
44 | 45 | WW013 | 57088.275 | 0 | 1.85
45 | 46 | WW012B | 28579.813 | 0 | 0.88
46 | 47 | SP001 (1:5) | 218495.91 | 0 | 7.38
47 | 48 | SP003 (1:5) | 193221.466 | 0 | 6.51
48 | 49 | LCS-Cane Sugar | 143455.396 | 0 | 4.8
49 | 50 | DI Blank | 3224.327 | 0 | 0.02
- | 51 | Clean Up | 2627.477 | 0 | 0

## Calibration
CALIBRATION DATA
Sample ID | Peak Area (cts) | Concentration (mg/L - C)
TOCcal BLANK | 2934.634 | 0
TOCcal #1 | 6009.457 | 0.1
TOCcal #2 | 17287.45 | 0.5
TOCcal #3 | 31615.536 | 1
TOCcal #4 | 149467.481 | 5
TOCcal #5 | 294391.316 | 10
TOCcal #6 |  | 20
| 0-5ppb | 0-10ppb
Slope =
Intercept =
-26.883
29439
2735.2

## QC
REPLICATES | [5 empty] | Chk-DL
|  |  | DOC (mg/L - C) |  |  |  |  | DOC (mg/L - C)
QC Type | # | Sample ID | Source | Rep | Precision | QC Type | # | Known | Measured | Error
Rep | 1 |  |  |  | #DIV/0! | MDL | 1 | 0.3 | 0.3 | 0
Rep | 2 |  |  |  | #DIV/0! | MDL | 2 |  |  | -0.3
Rep | 3 |  |  |  | #DIV/0!
Rep | 4 |  |  |  | #DIV/0! | Chk-01
Rep | 5 |  |  |  | #DIV/0! |  |  | DOC (mg/L - C)
Rep | 6 |  |  |  | #DIV/0! | QC Type | # | Known | Measured | Recovery
Rep | 7 |  |  |  | #DIV/0! | LCS-01 | 1 | 1.5 | 1.4 | -0.1
Rep | 8 |  |  |  | #DIV/0! | LCS-01 | 2 |  |  | -1.5
Rep | 9 |  |  |  | #DIV/0! | LCS-01 | 3 |  |  | -1.5
Rep | 10 |  |  |  | #DIV/0! | LCS-01 | 4 |  |  | -1.5
[6 empty] | LCS-01 | 5 |  |  | -1.5
[6 empty] | LCS-01 | 6 |  |  | -1.5
[6 empty] | LCS-01 | 7 |  |  | -1.5
[6 empty] | LCS-01 | 8 |  |  | -1.5
[6 empty] | LCS-01 | 9 |  |  | -1.5
[6 empty] | LCS-01 | 10 |  |  | -1.5
Chk-02
TOC (mg/L - C)
[6 empty] | QC Type | # | Known | Measured | Recovery
[6 empty] | LCS-02 | 1 | 7.5 | 7.44 | -0.8%
[6 empty] | LCS-02 | 2 |  |  | -100.0%
[6 empty] | LCS-02 | 3 |  |  | -100.0%
[6 empty] | LCS-02 | 4 |  |  | -100.0%
[6 empty] | LCS-02 | 5 |  |  | -100.0%
[6 empty] | LCS-02 | 6 |  |  | -100.0%
[6 empty] | LCS-02 | 7 |  |  | -100.0%
[6 empty] | LCS-02 | 8 |  |  | -100.0%
[6 empty] | LCS-02 | 9 |  |  | -100.0%
[6 empty] | LCS-02 | 10 |  |  | -100.0%

## Data Report
* Only final sample data appear in this worksheet
Procedure: |  | RAW DATA FILE NAME: | Hall_210119
1. Enter user and run information into blue box |  | DATE: | 2021-01-19
2. Paste sample IDs into column A |  | ANALYST: | A. Baumann
3. Paste calculated concentrations into column B
Dissolved Organic Carbon
Sample ID
(mg/L - C)
WW015 | 0.53
A023 | 4.95
WW011 | 0.61
WW012A | 0.57
WW025 | 0.51
WW014 | 0.67
WW003 | 0.46
WW016 | 0.51
WW026 | 0.46
WW038 | 0.6
WW039 | 0.5
WW002 | 0.59
WW040 | 0.55
WW006 | 0.67
WW031 | 0.42
WW005 | 0.57
WW037 | 0.39
WW001 | 0.5
WW036 | 0.45
WW010 | 0.56
WW027 | 0.45
WW007 | 0.63
WW023 | 0.53
WW018 | 0.5
WW004 | 0.55
WW021 | 0.52
WW013 | 1.85
WW012B | 0.88
SP001 | 36.9
SP003 | 32.6