## SM Parser
Employee | A. Baumann
Test Date | 2021-03-16
QCBatchID
SampleNumber | DOC
RMV

## Raw Data
Date | Time | Vial# | Spl# | #Reps | Sample ID | Type | Mode | Area(cts) | Mass(ugC) | Conc (PPM as mg/L C) | Method | InstrumentID | UserID | Comments
2021-03-16 | 3:36 | - | 1 | 1 | Clean Up | CleanUp | TC | 3839.06 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc
2021-03-16 | 3:36 | - | 1 | Avg | Clean Up | CleanUp | TC | 3839.06 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc
2021-03-16 | 3:36 | - | 1 | StDev | Clean Up | CleanUp | TC | 0 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc
2021-03-16 | 3:36 | - | 1 | %RSD | Clean Up | CleanUp | TC | 0 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc
2021-03-16 | 3:59 | 1 | 2 | 1 | DI Blank | Sample | TOC | 2894.534 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 3:59 | 1 | 2 | Avg | DI Blank | Sample | TOC | 2894.534 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 3:59 | 1 | 2 | StDev | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 3:59 | 1 | 2 | %RSD | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 4:19 | 2 | 3 | 1 | TOC CAL BLANK | Sample | TOC | 3540.654 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 4:19 | 2 | 3 | Avg | TOC CAL BLANK | Sample | TOC | 3540.654 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 4:19 | 2 | 3 | StDev | TOC CAL BLANK | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 4:19 | 2 | 3 | %RSD | TOC CAL BLANK | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 4:39 | 3 | 4 | 1 | TOC CAL#1 | Sample | TOC | 6247.194 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 4:39 | 3 | 4 | Avg | TOC CAL#1 | Sample | TOC | 6247.194 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 4:39 | 3 | 4 | StDev | TOC CAL#1 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 4:39 | 3 | 4 | %RSD | TOC CAL#1 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 4:59 | 4 | 5 | 1 | TOC CAL#2 | Sample | TOC | 17239.31 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 4:59 | 4 | 5 | Avg | TOC CAL#2 | Sample | TOC | 17239.31 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 4:59 | 4 | 5 | StDev | TOC CAL#2 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 4:59 | 4 | 5 | %RSD | TOC CAL#2 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 5:22 | 5 | 6 | 1 | TOC CAL#3 | Sample | TOC | 31241.509 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 5:22 | 5 | 6 | Avg | TOC CAL#3 | Sample | TOC | 31241.509 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 5:22 | 5 | 6 | StDev | TOC CAL#3 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 5:22 | 5 | 6 | %RSD | TOC CAL#3 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 5:46 | 6 | 7 | 1 | TOC CAL#4 | Sample | TOC | 147885.53 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 5:46 | 6 | 7 | Avg | TOC CAL#4 | Sample | TOC | 147885.53 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 5:46 | 6 | 7 | StDev | TOC CAL#4 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 5:46 | 6 | 7 | %RSD | TOC CAL#4 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 6:13 | 7 | 8 | 1 | TOC CAL#5 | Sample | TOC | 291131.023 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 6:13 | 7 | 8 | Avg | TOC CAL#5 | Sample | TOC | 291131.023 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 6:13 | 7 | 8 | StDev | TOC CAL#5 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 6:13 | 7 | 8 | %RSD | TOC CAL#5 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 6:41 | 8 | 9 | 1 | DI Blank | Sample | TOC | 2240.708 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 6:41 | 8 | 9 | Avg | DI Blank | Sample | TOC | 2240.708 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 6:41 | 8 | 9 | StDev | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 6:41 | 8 | 9 | %RSD | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 6:58 | 9 | 10 | 1 | MDL | Sample | TOC | 11729.607 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 6:58 | 9 | 10 | Avg | MDL | Sample | TOC | 11729.607 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 6:58 | 9 | 10 | StDev | MDL | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 6:58 | 9 | 10 | %RSD | MDL | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 7:20 | 10 | 11 | 1 | RMV | Sample | TOC | 47589.797 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 7:20 | 10 | 11 | Avg | RMV | Sample | TOC | 47589.797 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 7:20 | 10 | 11 | StDev | RMV | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 7:20 | 10 | 11 | %RSD | RMV | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 7:45 | 11 | 12 | 1 | LCS-01 | Sample | TOC | 43840.886 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 7:45 | 11 | 12 | Avg | LCS-01 | Sample | TOC | 43840.886 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 7:45 | 11 | 12 | StDev | LCS-01 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 7:45 | 11 | 12 | %RSD | LCS-01 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 8:10 | 12 | 13 | 1 | LCS-02 | Sample | TOC | 218689.553 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 8:10 | 12 | 13 | Avg | LCS-02 | Sample | TOC | 218689.553 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 8:10 | 12 | 13 | StDev | LCS-02 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 8:10 | 12 | 13 | %RSD | LCS-02 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 8:37 | 13 | 14 | 1 | DI Blank | Sample | TOC | 2275.183 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 8:37 | 13 | 14 | Avg | DI Blank | Sample | TOC | 2275.183 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 8:37 | 13 | 14 | StDev | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 8:37 | 13 | 14 | %RSD | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 8:54 | 14 | 15 | 1 | G004 (1:10) | Sample | TOC | 117908.479 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 8:54 | 14 | 15 | Avg | G004 (1:10) | Sample | TOC | 117908.479 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 8:54 | 14 | 15 | StDev | G004 (1:10) | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 8:54 | 14 | 15 | %RSD | G004 (1:10) | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 9:21 | 15 | 16 | 1 | G011 | Sample | TOC | 243148.095 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 9:21 | 15 | 16 | Avg | G011 | Sample | TOC | 243148.095 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 9:21 | 15 | 16 | StDev | G011 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 9:21 | 15 | 16 | %RSD | G011 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 9:49 | 16 | 17 | 1 | G077 | Sample | TOC | 71687.473 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 9:49 | 16 | 17 | Avg | G077 | Sample | TOC | 71687.473 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 9:49 | 16 | 17 | StDev | G077 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 9:49 | 16 | 17 | %RSD | G077 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 10:14 | 17 | 18 | 1 | G006 | Sample | TOC | 113097.079 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 10:14 | 17 | 18 | Avg | G006 | Sample | TOC | 113097.079 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 10:14 | 17 | 18 | StDev | G006 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 10:14 | 17 | 18 | %RSD | G006 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 10:41 | 18 | 19 | 1 | G015 | Sample | TOC | 1681762.867 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 10:41 | 18 | 19 | Avg | G015 | Sample | TOC | 1681762.867 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 10:41 | 18 | 19 | StDev | G015 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 10:41 | 18 | 19 | %RSD | G015 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 11:13 | 19 | 20 | 1 | G073 | Sample | TOC | 96297.35 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 11:13 | 19 | 20 | Avg | G073 | Sample | TOC | 96297.35 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 11:13 | 19 | 20 | StDev | G073 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 11:13 | 19 | 20 | %RSD | G073 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 11:39 | 20 | 21 | 1 | G074 | Sample | TOC | 103481.021 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 11:39 | 20 | 21 | Avg | G074 | Sample | TOC | 103481.021 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 11:39 | 20 | 21 | StDev | G074 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 11:39 | 20 | 21 | %RSD | G074 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 12:06 | 21 | 22 | 1 | G076 | Sample | TOC | 171954.899 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 12:06 | 21 | 22 | Avg | G076 | Sample | TOC | 171954.899 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 12:06 | 21 | 22 | StDev | G076 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 12:06 | 21 | 22 | %RSD | G076 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 12:33 | 22 | 23 | 1 | G003 | Sample | TOC | 1266508.854 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 12:33 | 22 | 23 | Avg | G003 | Sample | TOC | 1266508.854 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 12:33 | 22 | 23 | StDev | G003 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 12:33 | 22 | 23 | %RSD | G003 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 13:04 | 23 | 24 | 1 | G066 | Sample | TOC | 77834.393 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 13:04 | 23 | 24 | Avg | G066 | Sample | TOC | 77834.393 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 13:04 | 23 | 24 | StDev | G066 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 13:04 | 23 | 24 | %RSD | G066 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 13:31 | 24 | 25 | 1 | G014 | Sample | TOC | 1265016.97 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 13:31 | 24 | 25 | Avg | G014 | Sample | TOC | 1265016.97 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 13:31 | 24 | 25 | StDev | G014 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 13:31 | 24 | 25 | %RSD | G014 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 14:02 | 25 | 26 | 1 | G071 | Sample | TOC | 77484.392 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 14:02 | 25 | 26 | Avg | G071 | Sample | TOC | 77484.392 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 14:02 | 25 | 26 | StDev | G071 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 14:02 | 25 | 26 | %RSD | G071 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 14:28 | 26 | 27 | 1 | G075 | Sample | TOC | 147197.376 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 14:28 | 26 | 27 | Avg | G075 | Sample | TOC | 147197.376 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 14:28 | 26 | 27 | StDev | G075 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 14:28 | 26 | 27 | %RSD | G075 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 14:55 | 27 | 28 | 1 | LCS-Cane Sugar | Sample | TOC | 149228.742 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 14:55 | 27 | 28 | Avg | LCS-Cane Sugar | Sample | TOC | 149228.742 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 14:55 | 27 | 28 | StDev | LCS-Cane Sugar | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 14:55 | 27 | 28 | %RSD | LCS-Cane Sugar | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 15:22 | 28 | 29 | 1 | DI Blank | Sample | TOC | 2909.277 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 15:22 | 28 | 29 | Avg | DI Blank | Sample | TOC | 2909.277 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 15:22 | 28 | 29 | StDev | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 15:22 | 28 | 29 | %RSD | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 15:40 | 29 | 30 | 1 | G057 | Sample | TOC | 66841.864 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 15:40 | 29 | 30 | Avg | G057 | Sample | TOC | 66841.864 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 15:40 | 29 | 30 | StDev | G057 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 15:40 | 29 | 30 | %RSD | G057 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 16:06 | 30 | 31 | 1 | G009 | Sample | TOC | 1617418.79 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 16:06 | 30 | 31 | Avg | G009 | Sample | TOC | 1617418.79 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 16:06 | 30 | 31 | StDev | G009 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 16:06 | 30 | 31 | %RSD | G009 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 16:38 | 31 | 32 | 1 | G001 | Sample | TOC | 1661090.626 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 16:38 | 31 | 32 | Avg | G001 | Sample | TOC | 1661090.626 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 16:38 | 31 | 32 | StDev | G001 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 16:38 | 31 | 32 | %RSD | G001 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 17:10 | 32 | 33 | 1 | LCS-Cane Sugar | Sample | TOC | 148161.861 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 17:10 | 32 | 33 | Avg | LCS-Cane Sugar | Sample | TOC | 148161.861 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 17:10 | 32 | 33 | StDev | LCS-Cane Sugar | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 17:10 | 32 | 33 | %RSD | LCS-Cane Sugar | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 17:37 | 33 | 34 | 1 | DI Blank | Sample | TOC | 2609.388 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 17:37 | 33 | 34 | Avg | DI Blank | Sample | TOC | 2609.388 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 17:37 | 33 | 34 | StDev | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 17:37 | 33 | 34 | %RSD | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc
2021-03-16 | 17:51 | - | 35 | 1 | Clean Up | CleanUp | TC | 2183.757 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc
2021-03-16 | 17:51 | - | 35 | Avg | Clean Up | CleanUp | TC | 2183.757 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc
2021-03-16 | 17:51 | - | 35 | StDev | Clean Up | CleanUp | TC | 0 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc
2021-03-16 | 17:51 | - | 35 | %RSD | Clean Up | CleanUp | TC | 0 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc

## Sorted Data
Vial# | Spl# | Sample ID | Area(cts) | Comments | #Reps | *Filter data by "Reps" for "Avg" only
- | 1 | Clean Up | 3839.06 | 0 | 1 | *Sort data by unchecking "DOC" in "Comments" field
- | 1 | Clean Up | 3839.06 | 0 | Avg
- | 1 | Clean Up | 0 | 0 | StDev
- | 1 | Clean Up | 0 | 0 | %RSD
1 | 2 | DI Blank | 2894.534 | 0 | 1
1 | 2 | DI Blank | 2894.534 | 0 | Avg
1 | 2 | DI Blank | 0 | 0 | StDev
1 | 2 | DI Blank | 0 | 0 | %RSD
2 | 3 | TOC CAL BLANK | 3540.654 | 0 | 1
2 | 3 | TOC CAL BLANK | 3540.654 | 0 | Avg
2 | 3 | TOC CAL BLANK | 0 | 0 | StDev
2 | 3 | TOC CAL BLANK | 0 | 0 | %RSD
3 | 4 | TOC CAL#1 | 6247.194 | 0 | 1
3 | 4 | TOC CAL#1 | 6247.194 | 0 | Avg
3 | 4 | TOC CAL#1 | 0 | 0 | StDev
3 | 4 | TOC CAL#1 | 0 | 0 | %RSD
4 | 5 | TOC CAL#2 | 17239.31 | 0 | 1
4 | 5 | TOC CAL#2 | 17239.31 | 0 | Avg
4 | 5 | TOC CAL#2 | 0 | 0 | StDev
4 | 5 | TOC CAL#2 | 0 | 0 | %RSD
5 | 6 | TOC CAL#3 | 31241.509 | 0 | 1
5 | 6 | TOC CAL#3 | 31241.509 | 0 | Avg
5 | 6 | TOC CAL#3 | 0 | 0 | StDev
5 | 6 | TOC CAL#3 | 0 | 0 | %RSD
6 | 7 | TOC CAL#4 | 147885.53 | 0 | 1
6 | 7 | TOC CAL#4 | 147885.53 | 0 | Avg
6 | 7 | TOC CAL#4 | 0 | 0 | StDev
6 | 7 | TOC CAL#4 | 0 | 0 | %RSD
7 | 8 | TOC CAL#5 | 291131.023 | 0 | 1
7 | 8 | TOC CAL#5 | 291131.023 | 0 | Avg
7 | 8 | TOC CAL#5 | 0 | 0 | StDev
7 | 8 | TOC CAL#5 | 0 | 0 | %RSD
8 | 9 | DI Blank | 2240.708 | 0 | 1
8 | 9 | DI Blank | 2240.708 | 0 | Avg
8 | 9 | DI Blank | 0 | 0 | StDev
8 | 9 | DI Blank | 0 | 0 | %RSD
9 | 10 | MDL | 11729.607 | 0 | 1
9 | 10 | MDL | 11729.607 | 0 | Avg
9 | 10 | MDL | 0 | 0 | StDev
9 | 10 | MDL | 0 | 0 | %RSD
10 | 11 | RMV | 47589.797 | 0 | 1
10 | 11 | RMV | 47589.797 | 0 | Avg
10 | 11 | RMV | 0 | 0 | StDev
10 | 11 | RMV | 0 | 0 | %RSD
11 | 12 | LCS-01 | 43840.886 | 0 | 1
11 | 12 | LCS-01 | 43840.886 | 0 | Avg
11 | 12 | LCS-01 | 0 | 0 | StDev
11 | 12 | LCS-01 | 0 | 0 | %RSD
12 | 13 | LCS-02 | 218689.553 | 0 | 1
12 | 13 | LCS-02 | 218689.553 | 0 | Avg
12 | 13 | LCS-02 | 0 | 0 | StDev
12 | 13 | LCS-02 | 0 | 0 | %RSD
13 | 14 | DI Blank | 2275.183 | 0 | 1
13 | 14 | DI Blank | 2275.183 | 0 | Avg
13 | 14 | DI Blank | 0 | 0 | StDev
13 | 14 | DI Blank | 0 | 0 | %RSD
14 | 15 | G004 (1:10) | 117908.479 | 0 | 1
14 | 15 | G004 (1:10) | 117908.479 | 0 | Avg
14 | 15 | G004 (1:10) | 0 | 0 | StDev
14 | 15 | G004 (1:10) | 0 | 0 | %RSD
15 | 16 | G011 | 243148.095 | 0 | 1
15 | 16 | G011 | 243148.095 | 0 | Avg
15 | 16 | G011 | 0 | 0 | StDev
15 | 16 | G011 | 0 | 0 | %RSD
16 | 17 | G077 | 71687.473 | 0 | 1
16 | 17 | G077 | 71687.473 | 0 | Avg
16 | 17 | G077 | 0 | 0 | StDev
16 | 17 | G077 | 0 | 0 | %RSD
17 | 18 | G006 | 113097.079 | 0 | 1
17 | 18 | G006 | 113097.079 | 0 | Avg
17 | 18 | G006 | 0 | 0 | StDev
17 | 18 | G006 | 0 | 0 | %RSD
18 | 19 | G015 | 1681762.867 | 0 | 1
18 | 19 | G015 | 1681762.867 | 0 | Avg
18 | 19 | G015 | 0 | 0 | StDev
18 | 19 | G015 | 0 | 0 | %RSD
19 | 20 | G073 | 96297.35 | 0 | 1
19 | 20 | G073 | 96297.35 | 0 | Avg
19 | 20 | G073 | 0 | 0 | StDev
19 | 20 | G073 | 0 | 0 | %RSD
20 | 21 | G074 | 103481.021 | 0 | 1
20 | 21 | G074 | 103481.021 | 0 | Avg
20 | 21 | G074 | 0 | 0 | StDev
20 | 21 | G074 | 0 | 0 | %RSD
21 | 22 | G076 | 171954.899 | 0 | 1
21 | 22 | G076 | 171954.899 | 0 | Avg
21 | 22 | G076 | 0 | 0 | StDev
21 | 22 | G076 | 0 | 0 | %RSD
22 | 23 | G003 | 1266508.854 | 0 | 1
22 | 23 | G003 | 1266508.854 | 0 | Avg
22 | 23 | G003 | 0 | 0 | StDev
22 | 23 | G003 | 0 | 0 | %RSD
23 | 24 | G066 | 77834.393 | 0 | 1
23 | 24 | G066 | 77834.393 | 0 | Avg
23 | 24 | G066 | 0 | 0 | StDev
23 | 24 | G066 | 0 | 0 | %RSD
24 | 25 | G014 | 1265016.97 | 0 | 1
24 | 25 | G014 | 1265016.97 | 0 | Avg
24 | 25 | G014 | 0 | 0 | StDev
24 | 25 | G014 | 0 | 0 | %RSD
25 | 26 | G071 | 77484.392 | 0 | 1
25 | 26 | G071 | 77484.392 | 0 | Avg
25 | 26 | G071 | 0 | 0 | StDev
25 | 26 | G071 | 0 | 0 | %RSD
26 | 27 | G075 | 147197.376 | 0 | 1
26 | 27 | G075 | 147197.376 | 0 | Avg
26 | 27 | G075 | 0 | 0 | StDev
26 | 27 | G075 | 0 | 0 | %RSD
27 | 28 | LCS-Cane Sugar | 149228.742 | 0 | 1
27 | 28 | LCS-Cane Sugar | 149228.742 | 0 | Avg
27 | 28 | LCS-Cane Sugar | 0 | 0 | StDev
27 | 28 | LCS-Cane Sugar | 0 | 0 | %RSD
28 | 29 | DI Blank | 2909.277 | 0 | 1
28 | 29 | DI Blank | 2909.277 | 0 | Avg
28 | 29 | DI Blank | 0 | 0 | StDev
28 | 29 | DI Blank | 0 | 0 | %RSD
29 | 30 | G057 | 66841.864 | 0 | 1
29 | 30 | G057 | 66841.864 | 0 | Avg
29 | 30 | G057 | 0 | 0 | StDev
29 | 30 | G057 | 0 | 0 | %RSD
30 | 31 | G009 | 1617418.79 | 0 | 1
30 | 31 | G009 | 1617418.79 | 0 | Avg
30 | 31 | G009 | 0 | 0 | StDev
30 | 31 | G009 | 0 | 0 | %RSD
31 | 32 | G001 | 1661090.626 | 0 | 1
31 | 32 | G001 | 1661090.626 | 0 | Avg
31 | 32 | G001 | 0 | 0 | StDev
31 | 32 | G001 | 0 | 0 | %RSD
32 | 33 | LCS-Cane Sugar | 148161.861 | 0 | 1
32 | 33 | LCS-Cane Sugar | 148161.861 | 0 | Avg
32 | 33 | LCS-Cane Sugar | 0 | 0 | StDev
32 | 33 | LCS-Cane Sugar | 0 | 0 | %RSD
33 | 34 | DI Blank | 2609.388 | 0 | 1
33 | 34 | DI Blank | 2609.388 | 0 | Avg
33 | 34 | DI Blank | 0 | 0 | StDev
33 | 34 | DI Blank | 0 | 0 | %RSD
- | 35 | Clean Up | 2183.757 | 0 | 1
- | 35 | Clean Up | 2183.757 | 0 | Avg
- | 35 | Clean Up | 0 | 0 | StDev
- | 35 | Clean Up | 0 | 0 | %RSD
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0

## Working Data
Vial# | Spl# | Sample ID | Area(cts) | Comments | Concentration (mg/L -C)
- | 1 | Clean Up | 3839.06 | 0 | 0.02 | a | -1.9896
1 | 2 | DI Blank | 2894.534 | 0 | -0.01 | b | 29064
2 | 3 | TOC CAL BLANK | 3540.654 | 0 | 0.01 | c | 3151.8
3 | 4 | TOC CAL#1 | 6247.194 | 0 | 0.11
4 | 5 | TOC CAL#2 | 17239.31 | 0 | 0.48
5 | 6 | TOC CAL#3 | 31241.509 | 0 | 0.97
6 | 7 | TOC CAL#4 | 147885.53 | 0 | 4.98
7 | 8 | TOC CAL#5 | 291131.023 | 0 | 9.92
8 | 9 | DI Blank | 2240.708 | 0 | -0.03
9 | 10 | MDL | 11729.607 | 0 | 0.3
10 | 11 | RMV | 47589.797 | 0 | 1.53
11 | 12 | LCS-01 | 43840.886 | 0 | 1.4
12 | 13 | LCS-02 | 218689.553 | 0 | 7.42
13 | 14 | DI Blank | 2275.183 | 0 | -0.03
14 | 15 | G004 (1:10) | 117908.479 | 0 | 3.95
15 | 16 | G011 | 243148.095 | 0 | 8.26
16 | 17 | G077 | 71687.473 | 0 | 2.36
17 | 18 | G006 | 113097.079 | 0 | 3.78
18 | 19 | G015 | 1681762.867 | 0 | 57.99
19 | 20 | G073 | 96297.35 | 0 | 3.21
20 | 21 | G074 | 103481.021 | 0 | 3.45
21 | 22 | G076 | 171954.899 | 0 | 5.81
22 | 23 | G003 | 1266508.854 | 0 | 43.6
23 | 24 | G066 | 77834.393 | 0 | 2.57
24 | 25 | G014 | 1265016.97 | 0 | 43.55
25 | 26 | G071 | 77484.392 | 0 | 2.56
26 | 27 | G075 | 147197.376 | 0 | 4.96
27 | 28 | LCS-Cane Sugar | 149228.742 | 0 | 5.03
28 | 29 | DI Blank | 2909.277 | 0 | -0.01
29 | 30 | G057 | 66841.864 | 0 | 2.19
30 | 31 | G009 | 1617418.79 | 0 | 55.75
31 | 32 | G001 | 1661090.626 | 0 | 57.27
32 | 33 | LCS-Cane Sugar | 148161.861 | 0 | 4.99
33 | 34 | DI Blank | 2609.388 | 0 | -0.02
- | 35 | Clean Up | 2183.757 | 0 | -0.03

## Calibration
CALIBRATION DATA
Sample ID | Peak Area (cts) | Concentration (mg/L - C)
TOCcal BLANK | 3540.654 | 0
TOCcal #1 | 6247.194 | 0.1
TOCcal #2 | 17239.31 | 0.5
TOCcal #3 | 31241.509 | 1
TOCcal #4 | 147885.53 | 5
TOCcal #5 | 291131.023 | 10
TOCcal #6 |  | 20
| 0-5ppb | 0-10ppb
Slope =
Intercept =
-17.778
28994
3037.3

## QC
REPLICATES | [5 empty] | Chk-DL
|  |  | DOC (mg/L - C) |  |  |  |  | DOC (mg/L - C)
QC Type | # | Sample ID | Source | Rep | Precision | QC Type | # | Known | Measured | Error
Rep | 1 |  |  |  | #DIV/0! | MDL | 1 | 0.3 | 0.3 | 0
Rep | 2 |  |  |  | #DIV/0! | MDL | 2 |  |  | -0.3
Rep | 3 |  |  |  | #DIV/0!
Rep | 4 |  |  |  | #DIV/0! | Chk-01
Rep | 5 |  |  |  | #DIV/0! |  |  | DOC (mg/L - C)
Rep | 6 |  |  |  | #DIV/0! | QC Type | # | Known | Measured | Recovery
Rep | 7 |  |  |  | #DIV/0! | LCS-01 | 1 | 1.5 | 1.4 | -0.1
Rep | 8 |  |  |  | #DIV/0! | LCS-01 | 2 |  |  | -1.5
Rep | 9 |  |  |  | #DIV/0! | LCS-01 | 3 |  |  | -1.5
Rep | 10 |  |  |  | #DIV/0! | LCS-01 | 4 |  |  | -1.5
[6 empty] | LCS-01 | 5 |  |  | -1.5
[6 empty] | LCS-01 | 6 |  |  | -1.5
[6 empty] | LCS-01 | 7 |  |  | -1.5
[6 empty] | LCS-01 | 8 |  |  | -1.5
[6 empty] | LCS-01 | 9 |  |  | -1.5
[6 empty] | LCS-01 | 10 |  |  | -1.5
Chk-02
TOC (mg/L - C)
[6 empty] | QC Type | # | Known | Measured | Recovery
[6 empty] | LCS-02 | 1 | 7.5 | 7.42 | -1.1%
[6 empty] | LCS-02 | 2 |  |  | -100.0%
[6 empty] | LCS-02 | 3 |  |  | -100.0%
[6 empty] | LCS-02 | 4 |  |  | -100.0%
[6 empty] | LCS-02 | 5 |  |  | -100.0%
[6 empty] | LCS-02 | 6 |  |  | -100.0%
[6 empty] | LCS-02 | 7 |  |  | -100.0%
[6 empty] | LCS-02 | 8 |  |  | -100.0%
[6 empty] | LCS-02 | 9 |  |  | -100.0%
[6 empty] | LCS-02 | 10 |  |  | -100.0%

## Data Report
* Only final sample data appear in this worksheet
Procedure: |  |  | RAW DATA FILE NAME: | Hall_210316
1. Enter user and run information into blue box |  |  | DATE: | 2021-03-16
2. Paste sample IDs into column A |  |  | ANALYST: | A. Baumann
3. Paste calculated concentrations into column B
Dissolved Organic Carbon
Sample ID
(mg/L - C)
G004 | 39.5
G011 | 8.26
G077 | 2.36
G006 | 3.78
G015 | 57.99 | Overrange - Dilute and Re-run
G073 | 3.21
G074 | 3.45
G076 | 5.81
G003 | 43.6 | Overrange - Dilute and Re-run
G066 | 2.57
G014 | 43.55 | Overrange - Dilute and Re-run
G071 | 2.56
G075 | 4.96
G057 | 2.19
G009 | 55.75 | Overrange - Dilute and Re-run
G001 | 57.27 | Overrange - Dilute and Re-run