## SM Parser
Employee | A. Baumann
Test Date | 2021-03-18
QCBatchID
SampleNumber | DOC
RMV

## Raw Data
Date | Time | Vial# | Spl# | #Reps | Sample ID | Type | Mode | Area(cts) | Mass(ugC) | Conc (PPM as mg/L C) | Method | InstrumentID | UserID | Comments
2021-03-18 | 3:59 | - | 1 | 1 | Clean Up | CleanUp | TC | 4023.89 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc | --
2021-03-18 | 3:59 | - | 1 | Avg | Clean Up | CleanUp | TC | 4023.89 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc | --
2021-03-18 | 3:59 | - | 1 | StDev | Clean Up | CleanUp | TC | 0 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc | --
2021-03-18 | 3:59 | - | 1 | %RSD | Clean Up | CleanUp | TC | 0 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc | --
2021-03-18 | 4:22 | 1 | 2 | 1 | DI Blank | Sample | TOC | 3127.976 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2021-03-18 | 4:22 | 1 | 2 | Avg | DI Blank | Sample | TOC | 3127.976 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2021-03-18 | 4:22 | 1 | 2 | StDev | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2021-03-18 | 4:22 | 1 | 2 | %RSD | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2021-03-18 | 4:42 | 2 | 3 | 1 | TOC CAL BLANK | Sample | TOC | 3435.487 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2021-03-18 | 4:42 | 2 | 3 | Avg | TOC CAL BLANK | Sample | TOC | 3435.487 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2021-03-18 | 4:42 | 2 | 3 | StDev | TOC CAL BLANK | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2021-03-18 | 4:42 | 2 | 3 | %RSD | TOC CAL BLANK | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2021-03-18 | 5:01 | 3 | 4 | 1 | TOC CAL#1 | Sample | TOC | 6346.698 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2021-03-18 | 5:01 | 3 | 4 | Avg | TOC CAL#1 | Sample | TOC | 6346.698 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2021-03-18 | 5:01 | 3 | 4 | StDev | TOC CAL#1 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2021-03-18 | 5:01 | 3 | 4 | %RSD | TOC CAL#1 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2021-03-18 | 5:22 | 4 | 5 | 1 | TOC CAL#2 | Sample | TOC | 17423.031 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2021-03-18 | 5:22 | 4 | 5 | Avg | TOC CAL#2 | Sample | TOC | 17423.031 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2021-03-18 | 5:22 | 4 | 5 | StDev | TOC CAL#2 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2021-03-18 | 5:22 | 4 | 5 | %RSD | TOC CAL#2 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2021-03-18 | 5:45 | 5 | 6 | 1 | TOC CAL#3 | Sample | TOC | 31322.571 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2021-03-18 | 5:45 | 5 | 6 | Avg | TOC CAL#3 | Sample | TOC | 31322.571 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2021-03-18 | 5:45 | 5 | 6 | StDev | TOC CAL#3 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2021-03-18 | 5:45 | 5 | 6 | %RSD | TOC CAL#3 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2021-03-18 | 6:09 | 6 | 7 | 1 | TOC CAL#4 | Sample | TOC | 147971.941 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2021-03-18 | 6:09 | 6 | 7 | Avg | TOC CAL#4 | Sample | TOC | 147971.941 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2021-03-18 | 6:09 | 6 | 7 | StDev | TOC CAL#4 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2021-03-18 | 6:09 | 6 | 7 | %RSD | TOC CAL#4 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2021-03-18 | 6:36 | 7 | 8 | 1 | TOC CAL#5 | Sample | TOC | 291272.734 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2021-03-18 | 6:36 | 7 | 8 | Avg | TOC CAL#5 | Sample | TOC | 291272.734 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2021-03-18 | 6:36 | 7 | 8 | StDev | TOC CAL#5 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2021-03-18 | 6:36 | 7 | 8 | %RSD | TOC CAL#5 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | CAL
2021-03-18 | 7:04 | 8 | 9 | 1 | DI Blank | Sample | TOC | 2496.541 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2021-03-18 | 7:04 | 8 | 9 | Avg | DI Blank | Sample | TOC | 2496.541 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2021-03-18 | 7:04 | 8 | 9 | StDev | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2021-03-18 | 7:04 | 8 | 9 | %RSD | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2021-03-18 | 7:22 | 9 | 10 | 1 | MDL | Sample | TOC | 11898.396 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2021-03-18 | 7:22 | 9 | 10 | Avg | MDL | Sample | TOC | 11898.396 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2021-03-18 | 7:22 | 9 | 10 | StDev | MDL | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2021-03-18 | 7:22 | 9 | 10 | %RSD | MDL | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2021-03-18 | 7:45 | 10 | 11 | 1 | RMV | Sample | TOC | 50570.379 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2021-03-18 | 7:45 | 10 | 11 | Avg | RMV | Sample | TOC | 50570.379 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2021-03-18 | 7:45 | 10 | 11 | StDev | RMV | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2021-03-18 | 7:45 | 10 | 11 | %RSD | RMV | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2021-03-18 | 8:09 | 11 | 12 | 1 | LCS-01 | Sample | TOC | 43695.153 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2021-03-18 | 8:09 | 11 | 12 | Avg | LCS-01 | Sample | TOC | 43695.153 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2021-03-18 | 8:09 | 11 | 12 | StDev | LCS-01 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2021-03-18 | 8:09 | 11 | 12 | %RSD | LCS-01 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2021-03-18 | 8:34 | 12 | 13 | 1 | LCS-Cane Sugar | Sample | TOC | 149589.314 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2021-03-18 | 8:34 | 12 | 13 | Avg | LCS-Cane Sugar | Sample | TOC | 149589.314 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2021-03-18 | 8:34 | 12 | 13 | StDev | LCS-Cane Sugar | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2021-03-18 | 8:34 | 12 | 13 | %RSD | LCS-Cane Sugar | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2021-03-18 | 9:01 | 13 | 14 | 1 | LCS-02 | Sample | TOC | 217458.343 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2021-03-18 | 9:01 | 13 | 14 | Avg | LCS-02 | Sample | TOC | 217458.343 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2021-03-18 | 9:01 | 13 | 14 | StDev | LCS-02 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2021-03-18 | 9:01 | 13 | 14 | %RSD | LCS-02 | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | QC
2021-03-18 | 9:28 | 14 | 15 | 1 | DI Blank | Sample | TOC | 2662.935 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2021-03-18 | 9:28 | 14 | 15 | Avg | DI Blank | Sample | TOC | 2662.935 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2021-03-18 | 9:28 | 14 | 15 | StDev | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2021-03-18 | 9:28 | 14 | 15 | %RSD | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2021-03-18 | 9:46 | 15 | 16 | 1 | G001 (1:10) | Sample | TOC | 181985.046 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2021-03-18 | 9:46 | 15 | 16 | Avg | G001 (1:10) | Sample | TOC | 181985.046 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2021-03-18 | 9:46 | 15 | 16 | StDev | G001 (1:10) | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2021-03-18 | 9:46 | 15 | 16 | %RSD | G001 (1:10) | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2021-03-18 | 10:13 | 16 | 17 | 1 | G003 (1:10) | Sample | TOC | 134899.261 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2021-03-18 | 10:13 | 16 | 17 | Avg | G003 (1:10) | Sample | TOC | 134899.261 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2021-03-18 | 10:13 | 16 | 17 | StDev | G003 (1:10) | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2021-03-18 | 10:13 | 16 | 17 | %RSD | G003 (1:10) | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2021-03-18 | 10:40 | 17 | 18 | 1 | G009 (1:10) | Sample | TOC | 170166.397 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2021-03-18 | 10:40 | 17 | 18 | Avg | G009 (1:10) | Sample | TOC | 170166.397 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2021-03-18 | 10:40 | 17 | 18 | StDev | G009 (1:10) | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2021-03-18 | 10:40 | 17 | 18 | %RSD | G009 (1:10) | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2021-03-18 | 11:07 | 18 | 19 | 1 | G014 (1:10) | Sample | TOC | 134504.9 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2021-03-18 | 11:07 | 18 | 19 | Avg | G014 (1:10) | Sample | TOC | 134504.9 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2021-03-18 | 11:07 | 18 | 19 | StDev | G014 (1:10) | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2021-03-18 | 11:07 | 18 | 19 | %RSD | G014 (1:10) | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2021-03-18 | 11:34 | 19 | 20 | 1 | G015 (1:10) | Sample | TOC | 172475.725 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2021-03-18 | 11:34 | 19 | 20 | Avg | G015 (1:10) | Sample | TOC | 172475.725 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2021-03-18 | 11:34 | 19 | 20 | StDev | G015 (1:10) | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2021-03-18 | 11:34 | 19 | 20 | %RSD | G015 (1:10) | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | DO13C
2021-03-18 | 12:01 | 20 | 21 | 1 | DI Blank | Sample | TOC | 2518.342 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2021-03-18 | 12:01 | 20 | 21 | Avg | DI Blank | Sample | TOC | 2518.342 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2021-03-18 | 12:01 | 20 | 21 | StDev | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2021-03-18 | 12:01 | 20 | 21 | %RSD | DI Blank | Sample | TOC | 0 | 0 | 0 | Caddy_DOC - Feb 04, 2020; 11-47-40 AM | N221730082 | toc | --
2021-03-18 | 12:12 | - | 22 | 1 | Clean Up | CleanUp | TC | 2434.511 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc | --
2021-03-18 | 12:12 | - | 22 | Avg | Clean Up | CleanUp | TC | 2434.511 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc | --
2021-03-18 | 12:12 | - | 22 | StDev | Clean Up | CleanUp | TC | 0 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc | --
2021-03-18 | 12:12 | - | 22 | %RSD | Clean Up | CleanUp | TC | 0 | 0 | 0 | DefaultCleanUpMethod | N221730082 | toc | --

## Sorted Data
Vial# | Spl# | Sample ID | Area(cts) | Comments | #Reps | *Filter data by "Reps" for "Avg" only
- | 1 | Clean Up | 4023.89 | -- | 1 | *Sort data by unchecking "DOC" in "Comments" field
- | 1 | Clean Up | 4023.89 | -- | Avg
- | 1 | Clean Up | 0 | -- | StDev
- | 1 | Clean Up | 0 | -- | %RSD
1 | 2 | DI Blank | 3127.976 | -- | 1
1 | 2 | DI Blank | 3127.976 | -- | Avg
1 | 2 | DI Blank | 0 | -- | StDev
1 | 2 | DI Blank | 0 | -- | %RSD
2 | 3 | TOC CAL BLANK | 3435.487 | CAL | 1
2 | 3 | TOC CAL BLANK | 3435.487 | CAL | Avg
2 | 3 | TOC CAL BLANK | 0 | CAL | StDev
2 | 3 | TOC CAL BLANK | 0 | CAL | %RSD
3 | 4 | TOC CAL#1 | 6346.698 | CAL | 1
3 | 4 | TOC CAL#1 | 6346.698 | CAL | Avg
3 | 4 | TOC CAL#1 | 0 | CAL | StDev
3 | 4 | TOC CAL#1 | 0 | CAL | %RSD
4 | 5 | TOC CAL#2 | 17423.031 | CAL | 1
4 | 5 | TOC CAL#2 | 17423.031 | CAL | Avg
4 | 5 | TOC CAL#2 | 0 | CAL | StDev
4 | 5 | TOC CAL#2 | 0 | CAL | %RSD
5 | 6 | TOC CAL#3 | 31322.571 | CAL | 1
5 | 6 | TOC CAL#3 | 31322.571 | CAL | Avg
5 | 6 | TOC CAL#3 | 0 | CAL | StDev
5 | 6 | TOC CAL#3 | 0 | CAL | %RSD
6 | 7 | TOC CAL#4 | 147971.941 | CAL | 1
6 | 7 | TOC CAL#4 | 147971.941 | CAL | Avg
6 | 7 | TOC CAL#4 | 0 | CAL | StDev
6 | 7 | TOC CAL#4 | 0 | CAL | %RSD
7 | 8 | TOC CAL#5 | 291272.734 | CAL | 1
7 | 8 | TOC CAL#5 | 291272.734 | CAL | Avg
7 | 8 | TOC CAL#5 | 0 | CAL | StDev
7 | 8 | TOC CAL#5 | 0 | CAL | %RSD
8 | 9 | DI Blank | 2496.541 | -- | 1
8 | 9 | DI Blank | 2496.541 | -- | Avg
8 | 9 | DI Blank | 0 | -- | StDev
8 | 9 | DI Blank | 0 | -- | %RSD
9 | 10 | MDL | 11898.396 | QC | 1
9 | 10 | MDL | 11898.396 | QC | Avg
9 | 10 | MDL | 0 | QC | StDev
9 | 10 | MDL | 0 | QC | %RSD
10 | 11 | RMV | 50570.379 | QC | 1
10 | 11 | RMV | 50570.379 | QC | Avg
10 | 11 | RMV | 0 | QC | StDev
10 | 11 | RMV | 0 | QC | %RSD
11 | 12 | LCS-01 | 43695.153 | QC | 1
11 | 12 | LCS-01 | 43695.153 | QC | Avg
11 | 12 | LCS-01 | 0 | QC | StDev
11 | 12 | LCS-01 | 0 | QC | %RSD
12 | 13 | LCS-Cane Sugar | 149589.314 | QC | 1
12 | 13 | LCS-Cane Sugar | 149589.314 | QC | Avg
12 | 13 | LCS-Cane Sugar | 0 | QC | StDev
12 | 13 | LCS-Cane Sugar | 0 | QC | %RSD
13 | 14 | LCS-02 | 217458.343 | QC | 1
13 | 14 | LCS-02 | 217458.343 | QC | Avg
13 | 14 | LCS-02 | 0 | QC | StDev
13 | 14 | LCS-02 | 0 | QC | %RSD
14 | 15 | DI Blank | 2662.935 | -- | 1
14 | 15 | DI Blank | 2662.935 | -- | Avg
14 | 15 | DI Blank | 0 | -- | StDev
14 | 15 | DI Blank | 0 | -- | %RSD
15 | 16 | G001 (1:10) | 181985.046 | DO13C | 1
15 | 16 | G001 (1:10) | 181985.046 | DO13C | Avg
15 | 16 | G001 (1:10) | 0 | DO13C | StDev
15 | 16 | G001 (1:10) | 0 | DO13C | %RSD
16 | 17 | G003 (1:10) | 134899.261 | DO13C | 1
16 | 17 | G003 (1:10) | 134899.261 | DO13C | Avg
16 | 17 | G003 (1:10) | 0 | DO13C | StDev
16 | 17 | G003 (1:10) | 0 | DO13C | %RSD
17 | 18 | G009 (1:10) | 170166.397 | DO13C | 1
17 | 18 | G009 (1:10) | 170166.397 | DO13C | Avg
17 | 18 | G009 (1:10) | 0 | DO13C | StDev
17 | 18 | G009 (1:10) | 0 | DO13C | %RSD
18 | 19 | G014 (1:10) | 134504.9 | DO13C | 1
18 | 19 | G014 (1:10) | 134504.9 | DO13C | Avg
18 | 19 | G014 (1:10) | 0 | DO13C | StDev
18 | 19 | G014 (1:10) | 0 | DO13C | %RSD
19 | 20 | G015 (1:10) | 172475.725 | DO13C | 1
19 | 20 | G015 (1:10) | 172475.725 | DO13C | Avg
19 | 20 | G015 (1:10) | 0 | DO13C | StDev
19 | 20 | G015 (1:10) | 0 | DO13C | %RSD
20 | 21 | DI Blank | 2518.342 | -- | 1
20 | 21 | DI Blank | 2518.342 | -- | Avg
20 | 21 | DI Blank | 0 | -- | StDev
20 | 21 | DI Blank | 0 | -- | %RSD
- | 22 | Clean Up | 2434.511 | -- | 1
- | 22 | Clean Up | 2434.511 | -- | Avg
- | 22 | Clean Up | 0 | -- | StDev
- | 22 | Clean Up | 0 | -- | %RSD
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0

## Working Data
Vial# | Spl# | Sample ID | Area(cts) | Comments | Concentration (mg/L -C)
- | 1 | Clean Up | 4023.89 | -- | 0.03 | a | -18.67
1 | 2 | DI Blank | 3127.976 | -- | 0 | b | 29011
2 | 3 | TOC CAL BLANK | 3435.487 | CAL | 0.01 | c | 3089.9
3 | 4 | TOC CAL#1 | 6346.698 | CAL | 0.11
4 | 5 | TOC CAL#2 | 17423.031 | CAL | 0.49
5 | 6 | TOC CAL#3 | 31322.571 | CAL | 0.97
6 | 7 | TOC CAL#4 | 147971.941 | CAL | 5.01
7 | 8 | TOC CAL#5 | 291272.734 | CAL | 10
8 | 9 | DI Blank | 2496.541 | -- | -0.02
9 | 10 | MDL | 11898.396 | QC | 0.3
10 | 11 | RMV | 50570.379 | QC | 1.64
11 | 12 | LCS-01 | 43695.153 | QC | 1.4
12 | 13 | LCS-Cane Sugar | 149589.314 | QC | 5.07
13 | 14 | LCS-02 | 217458.343 | QC | 7.42
14 | 15 | DI Blank | 2662.935 | -- | -0.01
15 | 16 | G001 (1:10) | 181985.046 | DO13C | 6.19
16 | 17 | G003 (1:10) | 134899.261 | DO13C | 4.56
17 | 18 | G009 (1:10) | 170166.397 | DO13C | 5.78
18 | 19 | G014 (1:10) | 134504.9 | DO13C | 4.54
19 | 20 | G015 (1:10) | 172475.725 | DO13C | 5.86
20 | 21 | DI Blank | 2518.342 | -- | -0.02
- | 22 | Clean Up | 2434.511 | -- | -0.02

## Calibration
CALIBRATION DATA
Sample ID | Peak Area (cts) | Concentration (mg/L - C)
TOCcal BLANK | 3435.487 | 0
TOCcal #1 | 6346.698 | 0.1
TOCcal #2 | 17423.031 | 0.5
TOCcal #3 | 31322.571 | 1
TOCcal #4 | 147971.941 | 5
TOCcal #5 | 291272.734 | 10
TOCcal #6 |  | 20
| 0-5ppb | 0-10ppb
Slope =
Intercept =
-18.67
29011
3089.9

## QC
REPLICATES | [5 empty] | Chk-DL
|  |  | DOC (mg/L - C) |  |  |  |  | DOC (mg/L - C)
QC Type | # | Sample ID | Source | Rep | Precision | QC Type | # | Known | Measured | Error
Rep | 1 |  |  |  | #DIV/0! | MDL | 1 | 0.3 | 0.3 | 0
Rep | 2 |  |  |  | #DIV/0! | MDL | 2 |  |  | -0.3
Rep | 3 |  |  |  | #DIV/0!
Rep | 4 |  |  |  | #DIV/0! | Chk-01
Rep | 5 |  |  |  | #DIV/0! |  |  | DOC (mg/L - C)
Rep | 6 |  |  |  | #DIV/0! | QC Type | # | Known | Measured | Recovery
Rep | 7 |  |  |  | #DIV/0! | LCS-01 | 1 | 1.5 | 1.4 | -0.1
Rep | 8 |  |  |  | #DIV/0! | LCS-01 | 2 |  |  | -1.5
Rep | 9 |  |  |  | #DIV/0! | LCS-01 | 3 |  |  | -1.5
Rep | 10 |  |  |  | #DIV/0! | LCS-01 | 4 |  |  | -1.5
[6 empty] | LCS-01 | 5 |  |  | -1.5
[6 empty] | LCS-01 | 6 |  |  | -1.5
[6 empty] | LCS-01 | 7 |  |  | -1.5
[6 empty] | LCS-01 | 8 |  |  | -1.5
[6 empty] | LCS-01 | 9 |  |  | -1.5
[6 empty] | LCS-01 | 10 |  |  | -1.5
Chk-02
TOC (mg/L - C)
[6 empty] | QC Type | # | Known | Measured | Recovery
[6 empty] | LCS-02 | 1 | 7.5 | 7.42 | -1.1%
[6 empty] | LCS-02 | 2 |  |  | -100.0%
[6 empty] | LCS-02 | 3 |  |  | -100.0%
[6 empty] | LCS-02 | 4 |  |  | -100.0%
[6 empty] | LCS-02 | 5 |  |  | -100.0%
[6 empty] | LCS-02 | 6 |  |  | -100.0%
[6 empty] | LCS-02 | 7 |  |  | -100.0%
[6 empty] | LCS-02 | 8 |  |  | -100.0%
[6 empty] | LCS-02 | 9 |  |  | -100.0%
[6 empty] | LCS-02 | 10 |  |  | -100.0%

## Data Report
* Only final sample data appear in this worksheet
Procedure: |  | RAW DATA FILE NAME: | Hall_210318
1. Enter user and run information into blue box |  | DATE: | 2021-03-18
2. Paste sample IDs into column A |  | ANALYST: | A. Baumann
3. Paste calculated concentrations into column B
Dissolved Organic Carbon
Sample ID
(mg/L - C)
G001 | 61.9
G003 | 45.6
G009 | 57.8
G014 | 45.4
G015 | 58.6